## data
Sample Excel Spreadsheet - Generating an FFT with a Hanning Window (for a sine wave function)
J. M. Cimbala
Specified constants for a sine wave of the following standard form, f(t) = C + Asin(2pft - f):
| sampling frequency fs (Hz) = | 90 | Hz
| number of data points, N = | 128
| DC offset of sine wave, C = | 0 | volts (or any other units) Note: DC offset must remain zero in this analysis.
| sine wave amplitude, A = | 1 | volts (or any other units)
| sine wave frequency, f = | 20 | Hz
| phase shift, f = | 0 | radians
Calculated values:
| total sample time, T = N/fs = | 1.4222 | s
| Dt = 1/fs = | 0.011111 | s
| Df = 1/T = | 0.70312 | Hz
| folding frequency = max frequency of FFT = fs/2 = | 45 | Hz
| number of discrete frequencies = N/2 = | 64
| Dt for plotting the true signal = | 0.0025 | (use 20 points per period of the true signal)
| number of data points for plotting true signal = | 568.8889 | (= T/Dt)
| Predict perceived frequency: fperceived = | 20 | Hz | (perceived frequency)
Now calculate f(t), the time trace itself, and calculate the FFT of this signal: (Use Data Analysis-Fourier Analysis)
| f(t) = C + Asin(2pft - f): |  |  | Note: FFT does not automatically update!
[5 empty] | (also divide first one by 2) |  |  |  | (also divide first one by 2)
n (or k) | time, t (s) | signal, f(t) | frequency (Hz) | FFT output F(w) | ¦F¦/(N/2) | uHanning(t) | f(t)uHanning(t) | F(w) with Hanning window | ¦F¦*SQRT(8/3)]/(N/2)
0 | 0 | 0 | 0 | 0.984807753012231 | 0.0076938 | 0 | 0 | -8.4362708626947E-004 | 1.0763e-05
1 | 0.011111 | 0.98481 | 0.70312 | 0.986495007184768-1.01691743054022E-002i | 0.015415 | 0.00060227 | 0.00059312 | -8.50022073260159E-004+1.61957072349198E-005i | 2.1693e-05
2 | 0.022222 | 0.34202 | 1.4062 | 0.991582349650346-2.04031314397481E-002i | 0.015497 | 0.0024076 | 0.00082346 | -8.69447197758598E-004+3.2793220121518E-005i | 2.22e-05
3 | 0.033333 | -0.86603 | 2.1094 | 1.00014748090696-3.07682614545839E-002i | 0.015635 | 0.0054117 | -0.0046867 | -9.02639910711563E-004+5.02156113780326E-005i | 2.3067e-05
4 | 0.044444 | -0.64279 | 2.8125 | 1.01232317180643-4.13342539149224E-002i | 0.015831 | 0.0096074 | -0.0061755 | -9.5088777783531E-004+6.89304417841584E-005i | 2.4326e-05
5 | 0.055556 | 0.64279 | 3.5156 | 1.02830241381723-5.21759681423974E-002i | 0.016088 | 0.014984 | 0.0096318 | -1.01612334787129E-003+8.94771628845012E-005i | 2.6027e-05
6 | 0.066667 | 0.86603 | 4.2188 | 1.04834614921952-6.33755910214135E-002i | 0.01641 | 0.02153 | 0.018645 | -1.10107253521991E-003+1.12501548690886E-004i | 2.8241e-05
7 | 0.077778 | -0.34202 | 4.9219 | 1.07279417476269-7.50252200951937E-002i | 0.016803 | 0.029228 | -0.0099966 | -1.20947538326656E-003+1.38801073599601E-004i | 3.1063e-05
8 | 0.088889 | -0.98481 | 5.625 | 1.10208010183892-8.72300534633806E-002i | 0.017274 | 0.03806 | -0.037482 | -1.3464090895335E-003+1.69386945694383E-004i | 3.4625e-05
9 | 0.1 | -4.8986e-16 | 6.3281 | 1.13675166527328-0.100112434614355i | 0.01783 | 0.048005 | -2.3516e-17 | -1.5187603725281E-003+2.05571415906338E-004i | 3.9105e-05
10 | 0.11111 | 0.98481 | 7.0312 | 1.17749827019776-0.113817101428958i | 0.018484 | 0.059039 | 0.058142 | -1.73592199936942E-003+2.49093798915558E-004i | 4.4747e-05
11 | 0.12222 | 0.34202 | 7.7344 | 1.22518856311972-0.128518143439224i | 0.019249 | 0.071136 | 0.02433 | -2.01083438060369E-003+3.02306705446012E-004i | 5.1884e-05
12 | 0.13333 | -0.86603 | 8.4375 | 1.28092219356409-0.144428412271275i | 0.020141 | 0.084265 | -0.072976 | -2.36157187701481E-003+3.68457826228662E-004i | 6.0986e-05
13 | 0.14444 | -0.64279 | 9.1406 | 1.34610211151653-0.16181251240825i | 0.021184 | 0.098396 | -0.063248 | -2.81381204195854E-003+4.52127010275839E-004i | 7.2717e-05
14 | 0.15556 | 0.64279 | 9.8438 | 1.42253727763679-0.181005120586328i | 0.022406 | 0.11349 | 0.072953 | -3.40477788435839E-003+5.59922767409581E-004i | 8.8042e-05
15 | 0.16667 | 0.86603 | 10.5469 | 1.5125915552945-0.202437419834045i | 0.023845 | 0.12952 | 0.11217 | -4.18971764915831E-003+7.01625956732028E-004i | 0.00010839
16 | 0.17778 | -0.34202 | 11.25 | 1.61940470354883-0.226676222908694i | 0.02555 | 0.14645 | -0.050088 | -5.25291695018837E-003+8.92132452982873E-004i | 0.00013595
17 | 0.18889 | -0.98481 | 11.9531 | 1.74722951960392-0.254483555795284i | 0.027589 | 0.16422 | -0.16173 | -6.72714819962921E-003+1.1548833763324E-003i | 0.00017416
18 | 0.2 | -9.7972e-16 | 12.6562 | 1.90196292845754-0.286910422187205i | 0.030054 | 0.1828 | -1.791e-16 | -8.82959706415134E-003+1.528200538057E-003i | 0.00022864
19 | 0.21111 | 0.98481 | 13.3594 | 2.09201472556776-0.325450090731354i | 0.033081 | 0.20215 | 0.19908 | -1.193182653477E-002+2.07762353012494E-003i | 0.00030903
20 | 0.22222 | 0.34202 | 14.0625 | 2.32979382881707-0.372300253395999i | 0.036865 | 0.22221 | 0.076002 | -1.67049281395144E-002+2.92150425147785E-003i | 0.0004327
21 | 0.23333 | -0.86603 | 14.7656 | 2.63439264462442-0.43083643306656i | 0.041709 | 0.24295 | -0.2104 | -2.44448626584587E-002+4.28837363414112E-003i | 0.00063325
22 | 0.24444 | -0.64279 | 15.4688 | 3.03677091106562-0.506526107273687i | 0.048105 | 0.2643 | -0.16989 | -3.78758542460442E-002+6.65860202606609E-003i | 0.00098124
23 | 0.25556 | 0.64279 | 16.1719 | 3.590652594491-0.60885018958508i | 0.056905 | 0.28622 | 0.18398 | -6.33998957571908E-002+1.11610479478735E-002i | 0.0016426
24 | 0.26667 | 0.86603 | 16.875 | 4.39813386094516-0.755818463687962i | 0.069728 | 0.30866 | 0.26731 | -0.118570913523678+2.08909552363315E-002i | 0.003072
25 | 0.27778 | -0.34202 | 17.5781 | 5.67989878149403-0.986350558736185i | 0.090077 | 0.33156 | -0.1134 | -0.264029837306617+4.65409677099606E-002i | 0.0068407
26 | 0.28889 | -0.98481 | 18.2812 | 8.01778305126939-1.40304652462425i | 0.12718 | 0.35486 | -0.34947 | -0.812310830159638+0.143219301408778i | 0.021046
27 | 0.3 | -1.4696e-15 | 18.9844 | 13.6049106416833-2.39261969614744i | 0.21584 | 0.37851 | -5.5625e-16 | -6.29515966479988+1.10999501556093i | 0.1631
28 | 0.31111 | 0.98481 | 19.6875 | 44.3726768912967-7.82217292991433i | 0.70401 | 0.40245 | 0.39634 | 27.6985325259057-4.88400861728441i | 0.71765
29 | 0.32222 | 0.34202 | 20.3906 | -35.6536869627127+6.28430830545644i | 0.56568 | 0.42663 | 0.14592 | -25.7201166400089+4.53514192709899i | 0.66639
30 | 0.33333 | -0.86603 | 21.0938 | -12.7995842566864+2.25022183243129i | 0.20306 | 0.45099 | -0.39057 | 4.47303870993705-0.788724613444896i | 0.11589
31 | 0.34444 | -0.64279 | 21.7969 | -7.83763639040832+1.37103381318571i | 0.12432 | 0.47547 | -0.30562 | 0.698898323871883-0.123240489768027i | 0.018108
32 | 0.35556 | 0.64279 | 22.5 | -5.67128181961777+0.984807753012224i | 0.08994 | 0.5 | 0.32139 | 0.238640356322622-4.20832761763943E-002i | 0.006183
33 | 0.36667 | 0.86603 | 23.2031 | -4.4594886741177+0.766914797544343i | 0.070702 | 0.52453 | 0.45426 | 0.109770575009505-1.93587630787717E-002i | 0.0028441
34 | 0.37778 | -0.34202 | 23.9062 | -3.68677782865566+0.626456894391544i | 0.058432 | 0.54901 | -0.18777 | 5.9535247736474E-002-1.04996416125543E-002i | 0.0015425
35 | 0.38889 | -0.98481 | 24.6094 | -3.15220797413952+0.527997557688958i | 0.049939 | 0.57337 | -0.56465 | 3.58968551313004E-002-6.33028686495061E-003i | 0.00093006
36 | 0.4 | -1.9594e-15 | 25.3125 | -2.76122554014857+0.454859368446174i | 0.043726 | 0.59755 | -1.1709e-15 | 2.33117345013094E-002-4.10992558370991E-003i | 0.00060398
37 | 0.41111 | 0.98481 | 26.0156 | -2.46349004416288+0.398160881538232i | 0.038992 | 0.62149 | 0.61205 | 1.59962080516556E-002-2.81873322078036E-003i | 0.00041444
38 | 0.42222 | 0.34202 | 26.7188 | -2.22973938038381+0.352737327513406i | 0.035273 | 0.64514 | 0.22065 | 1.14541719561637E-002-2.01657319137534E-003i | 0.00029675
39 | 0.43333 | -0.86603 | 27.4219 | -2.0418054044294+0.315380066254085i | 0.032282 | 0.66844 | -0.57889 | 8.48558542638982E-003-1.49183970240546E-003i | 0.00021983
40 | 0.44444 | -0.64279 | 28.125 | -1.88781377018054+0.283990163804384i | 0.029829 | 0.69134 | -0.44439 | 6.46388721748634E-003-1.13404672102203E-003i | 0.00016745
41 | 0.45556 | 0.64279 | 28.8281 | -1.75967768480163+0.257136448238771i | 0.027787 | 0.71378 | 0.45881 | 5.03985496784835E-003-8.81610318812225E-004i | 0.00013055
42 | 0.46667 | 0.86603 | 29.5312 | -1.65170101929412+0.233809173948404i | 0.026065 | 0.7357 | 0.63713 | 4.00822898727529E-003-6.98330775583748E-004i | 0.00010381
43 | 0.47778 | -0.34202 | 30.2344 | -1.5597572697357+0.213275222760371i | 0.024598 | 0.75705 | -0.25893 | 3.24292964497433E-003-5.61969579880792E-004i | 8.3978e-05
44 | 0.48889 | -0.98481 | 30.9375 | -1.48078523875719+0.194989149891863i | 0.023337 | 0.77779 | -0.76597 | 2.66357923132814E-003-4.58346245875722E-004i | 6.8961e-05
45 | 0.5 | -2.4493e-15 | 31.6406 | -1.412467524704+0.178536462006858i | 0.022245 | 0.79785 | -1.9542e-15 | 2.21727981186536E-003-3.78125165296376E-004i | 5.7392e-05
46 | 0.51111 | 0.98481 | 32.3438 | -1.35301892989827+0.163596274783035i | 0.021295 | 0.8172 | 0.80478 | 1.86824747887103E-003-3.14987743243135E-004i | 4.8342e-05
47 | 0.52222 | 0.34202 | 33.0469 | -1.30104332500802+0.149916038532184i | 0.020463 | 0.83578 | 0.28585 | 1.59168729119473E-003-2.64552269041557E-004i | 4.117e-05
48 | 0.53333 | -0.86603 | 33.75 | -1.25543446928255+0.137294011357494i | 0.019733 | 0.85355 | -0.7392 | 1.37005219223752E-003-2.23714131310893E-004i | 3.5421e-05
49 | 0.54444 | -0.64279 | 34.4531 | -1.21530582232604+0.12556684070805i | 0.01909 | 0.87048 | -0.55953 | 1.190690560873E-003-1.90230868101175E-004i | 3.0766e-05
50 | 0.55556 | 0.64279 | 35.1562 | -1.17993993761302+0.114600593531007i | 0.018523 | 0.88651 | 0.56983 | 1.04432834224291E-003-1.62454353562394E-004i | 2.6967e-05
51 | 0.56667 | 0.86603 | 35.8594 | -1.14875136626896+0.104284163768211i | 0.018023 | 0.9016 | 0.78081 | 9.2406692220115E-004-1.39153897164498E-004i | 2.3844e-05
52 | 0.57778 | -0.34202 | 36.5625 | -1.12125906261371+9.45243495940701E-002i | 0.017582 | 0.91573 | -0.3132 | 8.2470776064939E-004-1.19396927215641E-004i | 2.1262e-05
53 | 0.58889 | -0.98481 | 37.2656 | -1.09706559000106+8.52421231287895E-002i | 0.017193 | 0.92886 | -0.91475 | 7.4228875884482E-004-1.02466970042449E-004i | 1.9119e-05
54 | 0.6 | -2.9392e-15 | 37.9688 | -1.07584127242378+7.63697645436839E-002i | 0.016852 | 0.94096 | -2.7656e-15 | 6.73760660909685E-004-8.78062742452373E-005i | 1.7337e-05
55 | 0.61111 | 0.98481 | 38.6719 | -1.05731199749015+6.78486310555606E-002i | 0.016554 | 0.95199 | 0.93753 | 6.16757825216048E-004-7.49750175105192E-005i | 1.5853e-05
56 | 0.62222 | 0.34202 | 39.375 | -1.04124975385739+5.96273976374708E-002i | 0.016296 | 0.96194 | 0.329 | 5.69433705262717E-004-6.36218555137147E-005i | 1.462e-05
57 | 0.63333 | -0.86603 | 40.0781 | -1.02746524504568+5.16606516414334E-002i | 0.016074 | 0.97077 | -0.84071 | 5.30341440385377E-004-5.34623403644033E-005i | 1.3601e-05
58 | 0.64444 | -0.64279 | 40.7812 | -1.0158021019955+4.39077550068555E-002i | 0.015887 | 0.97847 | -0.62895 | 4.9834639021061E-004-4.42628691134948E-005i | 1.2766e-05
59 | 0.65556 | 0.64279 | 41.4844 | -1.00613234450617+3.63319098487337E-002i | 0.015731 | 0.98502 | 0.63316 | 4.72561652889898E-004-3.58285586493187E-005i | 1.2092e-05
60 | 0.66667 | 0.86603 | 42.1875 | -0.998352833628404+2.8899378925202E-002i | 0.015606 | 0.99039 | 0.85771 | 4.5230039552413E-004-2.7993929603306E-005i | 1.1563e-05
61 | 0.67778 | -0.34202 | 42.8906 | -0.992382524332732+2.1578823720082E-002i | 0.01551 | 0.99459 | -0.34017 | 4.3704071242741E-004-2.06156056180921E-005i | 1.1164e-05
62 | 0.68889 | -0.98481 | 43.5938 | -0.988160377886761+1.43407309374319E-002i | 0.015442 | 0.99759 | -0.98244 | 4.26400024793431E-004-1.356645492547E-005i | 1.0885e-05
63 | 0.7 | 1.0782e-14 | 44.2969 | -0.985643831539965+7.15690397448348E-003i | 0.015401 | 0.9994 | 1.0775e-14 | 4.2011695476626E-004-6.7307471182159E-006i | 1.0721e-05
64 | 0.71111 | 0.98481 | 45 | -0.984807753012235 | 0.015388 | 1 | 0.98481 | 4.18039263864266E-004 | 1.0666e-05 | Folding frequency
65 | 0.72222 | 0.34202 |  | -0.985643831539965-7.15690397448345E-003i |  | 0.9994 | 0.34181 | 4.20116954765539E-004+6.73074711651808E-006i
66 | 0.73333 | -0.86603 |  | -0.988160377886757-1.43407309374331E-002i |  | 0.99759 | -0.86394 | 4.26400024791345E-004+1.35664549275182E-005i
67 | 0.74444 | -0.64279 |  | -0.992382524332716-2.15788237200921E-002i |  | 0.99459 | -0.63931 | 4.37040712441555E-004+2.06156056051288E-005i
68 | 0.75556 | 0.64279 |  | -0.998352833628428-2.88993789251753E-002i |  | 0.99039 | 0.63661 | 4.52300395510074E-004+2.79939296184889E-005i
69 | 0.76667 | 0.86603 |  | -1.00613234450618-3.63319098487251E-002i |  | 0.98502 | 0.85305 | 4.72561652891618E-004+3.58285586438824E-005i
70 | 0.77778 | -0.34202 |  | -1.01580210199551-4.3907755006849E-002i |  | 0.97847 | -0.33466 | 4.98346390211073E-004+4.4262869113642E-005i
71 | 0.78889 | -0.98481 |  | -1.02746524504568-5.16606516414276E-002i |  | 0.97077 | -0.95602 | 5.30341440387065E-004+5.34623403621613E-005i
72 | 0.8 | -3.9189e-15 |  | -1.04124975385739-5.96273976374653E-002i |  | 0.96194 | -3.7697e-15 | 5.69433705262778E-004+6.36218555136399E-005i
73 | 0.81111 | 0.98481 |  | -1.05731199749015-6.78486310555548E-002i |  | 0.95199 | 0.93753 | 6.16757825216578E-004+7.49750175088117E-005i
74 | 0.82222 | 0.34202 |  | -1.07584127242378-7.63697645436782E-002i |  | 0.94096 | 0.32183 | 6.73760660909196E-004+8.7806274245558E-005i
75 | 0.83333 | -0.86603 |  | -1.09706559000105-8.52421231287851E-002i |  | 0.92886 | -0.80442 | 7.42288758847686E-004+1.02466970039828E-004i
76 | 0.84444 | -0.64279 |  | -1.12125906261371-9.45243495940545E-002i |  | 0.91573 | -0.58862 | 8.24707760648065E-004+1.19396927220921E-004i
77 | 0.85556 | 0.64279 |  | -1.14875136626897-0.104284163768209i |  | 0.9016 | 0.57954 | 9.24066922199911E-004+1.39153897160134E-004i
78 | 0.86667 | 0.86603 |  | -1.17993993761302-0.114600593531003i |  | 0.88651 | 0.76774 | 1.044328342243E-003+1.62454353563184E-004i
79 | 0.87778 | -0.34202 |  | -1.21530582232604-0.125566840708045i |  | 0.87048 | -0.29772 | 1.19069056087543E-003+1.90230868099274E-004i
80 | 0.88889 | -0.98481 |  | -1.25543446928256-0.13729401135749i |  | 0.85355 | -0.84059 | 1.37005219223752E-003+2.23714131310883E-004i
81 | 0.9 | -4.4087e-15 |  | -1.30104332500802-0.149916038532178i |  | 0.83578 | -3.6847e-15 | 1.5916872911956E-003+2.64552269039939E-004i
82 | 0.91111 | 0.98481 |  | -1.35301892989827-0.163596274783029i |  | 0.8172 | 0.80478 | 1.86824747886917E-003+3.14987743243604E-004i
83 | 0.92222 | 0.34202 |  | -1.41246752470399-0.178536462006849i |  | 0.79785 | 0.27288 | 2.217279811877E-003+3.78125165293587E-004i
84 | 0.93333 | -0.86603 |  | -1.48078523875722-0.194989149891849i |  | 0.77779 | -0.67358 | 2.66357923131741E-003+4.58346245879584E-004i
85 | 0.94444 | -0.64279 |  | -1.55975726973571-0.213275222760364i |  | 0.75705 | -0.48662 | 3.24292964497786E-003+5.61969579877363E-004i
86 | 0.95556 | 0.64279 |  | -1.65170101929412-0.233809173948395i |  | 0.7357 | 0.4729 | 4.00822898727488E-003+6.98330775584103E-004i
87 | 0.96667 | 0.86603 |  | -1.75967768480163-0.257136448238761i |  | 0.71378 | 0.61815 | 5.03985496785276E-003+8.81610318810889E-004i
88 | 0.97778 | -0.34202 |  | -1.88781377018054-0.283990163804375i |  | 0.69134 | -0.23645 | 6.46388721748638E-003+1.13404672102189E-003i
89 | 0.98889 | -0.98481 |  | -2.0418054044294-0.315380066254072i |  | 0.66844 | -0.65829 | 8.48558542639233E-003+1.49183970240339E-003i
90 | 1 | -4.8986e-15 |  | -2.22973938038381-0.35273732751339i |  | 0.64514 | -3.1603e-15 | 1.14541719561616E-002+2.01657319137462E-003i
91 | 1.0111 | 0.98481 |  | -2.46349004416287-0.398160881538208i |  | 0.62149 | 0.61205 | 1.59962080516661E-002+2.81873322077341E-003i
92 | 1.0222 | 0.34202 |  | -2.76122554014859-0.454859368446123i |  | 0.59755 | 0.20437 | 2.33117345013036E-002+4.10992558373786E-003i
93 | 1.0333 | -0.86603 |  | -3.15220797413953-0.527997557688977i |  | 0.57337 | -0.49655 | 3.58968551313018E-002+6.33028686492605E-003i
94 | 1.0444 | -0.64279 |  | -3.68677782865567-0.626456894391541i |  | 0.54901 | -0.3529 | 5.95352477364723E-002+1.0499641612558E-002i
95 | 1.0556 | 0.64279 |  | -4.4594886741177-0.766914797544329i |  | 0.52453 | 0.33716 | 0.109770575009519+1.93587630787717E-002i
96 | 1.0667 | 0.86603 |  | -5.67128181961777-0.984807753012224i |  | 0.5 | 0.43301 | 0.238640356322623+4.20832761763943E-002i
97 | 1.0778 | -0.34202 |  | -7.83763639040833-1.37103381318568i |  | 0.47547 | -0.16262 | 0.698898323871898+0.123240489768025i
98 | 1.0889 | -0.98481 |  | -12.7995842566865-2.25022183243124i |  | 0.45099 | -0.44414 | 4.47303870993705+0.788724613444878i
99 | 1.1 | 8.8224e-15 |  | -35.6536869627128-6.28430830545628i |  | 0.42663 | 3.7639e-15 | -25.720116640009-4.53514192709887i
100 | 1.1111 | 0.98481 |  | 44.3726768912967+7.82217292991418i |  | 0.40245 | 0.39634 | 27.6985325259057+4.88400861728432i
101 | 1.1222 | 0.34202 |  | 13.6049106416833+2.39261969614736i |  | 0.37851 | 0.12946 | -6.29515966479989-1.10999501556091i
102 | 1.1333 | -0.86603 |  | 8.01778305126938+1.40304652462421i |  | 0.35486 | -0.30732 | -0.812310830159636-0.143219301408774i
103 | 1.1444 | -0.64279 |  | 5.67989878149401+0.98635055873615i |  | 0.33156 | -0.21312 | -0.264029837306632-4.65409677099641E-002i
104 | 1.1556 | 0.64279 |  | 4.39813386094516+0.755818463687949i |  | 0.30866 | 0.1984 | -0.118570913523678-2.08909552363312E-002i
105 | 1.1667 | 0.86603 |  | 3.590652594491+0.608850189585058i |  | 0.28622 | 0.24788 | -6.33998957571971E-002-1.11610479478765E-002i
106 | 1.1778 | -0.34202 |  | 3.03677091106562+0.506526107273671i |  | 0.2643 | -0.090396 | -3.78758542460429E-002-6.65860202606517E-003i
107 | 1.1889 | -0.98481 |  | 2.63439264462441+0.430836433066541i |  | 0.24295 | -0.23926 | -2.44448626584697E-002-4.28837363414747E-003i
108 | 1.2 | -5.8783e-15 |  | 2.32979382881708+0.372300253396005i |  | 0.22221 | -1.3062e-15 | -1.6704928139504E-002-2.92150425146834E-003i
109 | 1.2111 | 0.98481 |  | 2.09201472556776+0.325450090731336i |  | 0.20215 | 0.19908 | -1.19318265347736E-002-2.07762353013283E-003i
110 | 1.2222 | 0.34202 |  | 1.90196292845754+0.286910422187193i |  | 0.1828 | 0.062522 | -8.82959706415116E-003-1.52820053805596E-003i
111 | 1.2333 | -0.86603 |  | 1.74722951960392+0.25448355579527i |  | 0.16422 | -0.14222 | -6.72714819963381E-003-1.1548833763354E-003i
112 | 1.2444 | -0.64279 |  | 1.61940470354883+0.22667622290869i |  | 0.14645 | -0.094134 | -5.25291695018837E-003-8.92132452982863E-004i
113 | 1.2556 | 0.64279 |  | 1.51259155529449+0.202437419834033i |  | 0.12952 | 0.083257 | -4.18971764915966E-003-7.01625956734996E-004i
114 | 1.2667 | 0.86603 |  | 1.42253727763679+0.181005120586317i |  | 0.11349 | 0.098289 | -3.40477788435682E-003-5.59922767408239E-004i
115 | 1.2778 | -0.34202 |  | 1.34610211151651+0.161812512408231i |  | 0.098396 | -0.033653 | -2.81381204196729E-003-4.52127010284287E-004i
116 | 1.2889 | -0.98481 |  | 1.2809221935641+0.144428412271285i |  | 0.084265 | -0.082985 | -2.36157187700583E-003-3.68457826218957E-004i
117 | 1.3 | 7.8427e-15 |  | 1.22518856311972+0.128518143439216i |  | 0.071136 | 5.579e-16 | -2.01083438060573E-003-3.02306705450749E-004i
118 | 1.3111 | 0.98481 |  | 1.17749827019776+0.113817101428953i |  | 0.059039 | 0.058142 | -1.73592199936943E-003-2.49093798915208E-004i
119 | 1.3222 | 0.34202 |  | 1.13675166527328+0.100112434614347i |  | 0.048005 | 0.016419 | -1.51876037253028E-003-2.05571415908771E-004i
120 | 1.3333 | -0.86603 |  | 1.10208010183891+8.72300534633789E-002i |  | 0.03806 | -0.032961 | -1.34640908953349E-003-1.69386945694468E-004i
121 | 1.3444 | -0.64279 |  | 1.07279417476269+7.50252200951867E-002i |  | 0.029228 | -0.018787 | -1.20947538326696E-003-1.38801073602746E-004i
122 | 1.3556 | 0.64279 |  | 1.04834614921952+6.33755910214103E-002i |  | 0.02153 | 0.013839 | -1.10107253521922E-003-1.12501548690623E-004i
123 | 1.3667 | 0.86603 |  | 1.02830241381722+5.21759681423926E-002i |  | 0.014984 | 0.012977 | -1.01612334787063E-003-8.94771628914659E-005i
124 | 1.3778 | -0.34202 |  | 1.01232317180641+4.13342539149459E-002i |  | 0.0096074 | -0.0032859 | -9.50887777844392E-004-6.89304417658221E-005i
125 | 1.3889 | -0.98481 |  | 1.00014748090697+3.07682614545583E-002i |  | 0.0054117 | -0.0053295 | -9.02639910702715E-004-5.02156113920065E-005i
126 | 1.4 | 2.1564e-14 |  | 0.99158234965035+2.04031314397349E-002i |  | 0.0024076 | 5.1918e-17 | -8.69447197760151E-004-3.27932201188756E-005i
127 | 1.4111 | 0.98481 |  | 0.986495007184768+1.01691743053889E-002i |  | 0.00060227 | 0.00059312 | -8.50022073260942E-004-1.61957072370574E-005i
128 | 1.4222 | 0.34202 |  |  |  | 0 | 0

## time trace
Time trace of the time signal (thin black line is actual signal, red symbols and blue lines are sampled data):
Calculate the true f(t) using delta t for the true signal:
| f(t) = C + Asin(2pft - f): |  | Dt = | 0.0025
n | time, t (s) | signal, f(t)
0 | 0 | 0
1 | 0.0025 | 0.30902
2 | 0.005 | 0.58779
3 | 0.0075 | 0.80902
4 | 0.01 | 0.95106
5 | 0.0125 | 1
6 | 0.015 | 0.95106
7 | 0.0175 | 0.80902
8 | 0.02 | 0.58779
9 | 0.0225 | 0.30902
10 | 0.025 | 1.2246e-16
11 | 0.0275 | -0.30902
12 | 0.03 | -0.58779
13 | 0.0325 | -0.80902
14 | 0.035 | -0.95106
15 | 0.0375 | -1
16 | 0.04 | -0.95106
17 | 0.0425 | -0.80902
18 | 0.045 | -0.58779
19 | 0.0475 | -0.30902
20 | 0.05 | -2.4493e-16
21 | 0.0525 | 0.30902
22 | 0.055 | 0.58779
23 | 0.0575 | 0.80902
24 | 0.06 | 0.95106
25 | 0.0625 | 1
26 | 0.065 | 0.95106
27 | 0.0675 | 0.80902
28 | 0.07 | 0.58779
29 | 0.0725 | 0.30902
30 | 0.075 | 3.6739e-16
31 | 0.0775 | -0.30902
32 | 0.08 | -0.58779
33 | 0.0825 | -0.80902
34 | 0.085 | -0.95106
35 | 0.0875 | -1
36 | 0.09 | -0.95106
37 | 0.0925 | -0.80902
38 | 0.095 | -0.58779
39 | 0.0975 | -0.30902
40 | 0.1 | -4.8986e-16
41 | 0.1025 | 0.30902
42 | 0.105 | 0.58779
43 | 0.1075 | 0.80902
44 | 0.11 | 0.95106
45 | 0.1125 | 1
46 | 0.115 | 0.95106
47 | 0.1175 | 0.80902
48 | 0.12 | 0.58779
49 | 0.1225 | 0.30902
50 | 0.125 | 6.1232e-16
51 | 0.1275 | -0.30902
52 | 0.13 | -0.58779
53 | 0.1325 | -0.80902
54 | 0.135 | -0.95106
55 | 0.1375 | -1
56 | 0.14 | -0.95106
57 | 0.1425 | -0.80902
58 | 0.145 | -0.58779
59 | 0.1475 | -0.30902
60 | 0.15 | -7.3479e-16
61 | 0.1525 | 0.30902
62 | 0.155 | 0.58779
63 | 0.1575 | 0.80902
64 | 0.16 | 0.95106
65 | 0.1625 | 1
66 | 0.165 | 0.95106
67 | 0.1675 | 0.80902
68 | 0.17 | 0.58779
69 | 0.1725 | 0.30902
70 | 0.175 | -2.6955e-15
71 | 0.1775 | -0.30902
72 | 0.18 | -0.58779
73 | 0.1825 | -0.80902
74 | 0.185 | -0.95106
75 | 0.1875 | -1
76 | 0.19 | -0.95106
77 | 0.1925 | -0.80902
78 | 0.195 | -0.58779
79 | 0.1975 | -0.30902
80 | 0.2 | -9.7972e-16
81 | 0.2025 | 0.30902
82 | 0.205 | 0.58779
83 | 0.2075 | 0.80902
84 | 0.21 | 0.95106
85 | 0.2125 | 1
86 | 0.215 | 0.95106
87 | 0.2175 | 0.80902
88 | 0.22 | 0.58779
89 | 0.2225 | 0.30902
90 | 0.225 | 1.1022e-15
91 | 0.2275 | -0.30902
92 | 0.23 | -0.58779
93 | 0.2325 | -0.80902
94 | 0.235 | -0.95106
95 | 0.2375 | -1
96 | 0.24 | -0.95106
97 | 0.2425 | -0.80902
98 | 0.245 | -0.58779
99 | 0.2475 | -0.30902
100 | 0.25 | -1.2246e-15
101 | 0.2525 | 0.30902
102 | 0.255 | 0.58779
103 | 0.2575 | 0.80902
104 | 0.26 | 0.95106
105 | 0.2625 | 1
106 | 0.265 | 0.95106
107 | 0.2675 | 0.80902
108 | 0.27 | 0.58779
109 | 0.2725 | 0.30902
110 | 0.275 | -2.2056e-15
111 | 0.2775 | -0.30902
112 | 0.28 | -0.58779
113 | 0.2825 | -0.80902
114 | 0.285 | -0.95106
115 | 0.2875 | -1
116 | 0.29 | -0.95106
117 | 0.2925 | -0.80902
118 | 0.295 | -0.58779
119 | 0.2975 | -0.30902
120 | 0.3 | -1.4696e-15
121 | 0.3025 | 0.30902
122 | 0.305 | 0.58779
123 | 0.3075 | 0.80902
124 | 0.31 | 0.95106
125 | 0.3125 | 1
126 | 0.315 | 0.95106
127 | 0.3175 | 0.80902
128 | 0.32 | 0.58779
129 | 0.3225 | 0.30902
130 | 0.325 | -1.9607e-15
131 | 0.3275 | -0.30902
132 | 0.33 | -0.58779
133 | 0.3325 | -0.80902
134 | 0.335 | -0.95106
135 | 0.3375 | -1
136 | 0.34 | -0.95106
137 | 0.3425 | -0.80902
138 | 0.345 | -0.58779
139 | 0.3475 | -0.30902
140 | 0.35 | 5.3909e-15
141 | 0.3525 | 0.30902
142 | 0.355 | 0.58779
143 | 0.3575 | 0.80902
144 | 0.36 | 0.95106
145 | 0.3625 | 1
146 | 0.365 | 0.95106
147 | 0.3675 | 0.80902
148 | 0.37 | 0.58779
149 | 0.3725 | 0.30902
150 | 0.375 | 5.3897e-15
151 | 0.3775 | -0.30902
152 | 0.38 | -0.58779
153 | 0.3825 | -0.80902
154 | 0.385 | -0.95106
155 | 0.3875 | -1
156 | 0.39 | -0.95106
157 | 0.3925 | -0.80902
158 | 0.395 | -0.58779
159 | 0.3975 | -0.30902
160 | 0.4 | -1.9594e-15
161 | 0.4025 | 0.30902
162 | 0.405 | 0.58779
163 | 0.4075 | 0.80902
164 | 0.41 | 0.95106
165 | 0.4125 | 1
166 | 0.415 | 0.95106
167 | 0.4175 | 0.80902
168 | 0.42 | 0.58779
169 | 0.4225 | 0.30902
170 | 0.425 | 5.6346e-15
171 | 0.4275 | -0.30902
172 | 0.43 | -0.58779
173 | 0.4325 | -0.80902
174 | 0.435 | -0.95106
175 | 0.4375 | -1
176 | 0.44 | -0.95106
177 | 0.4425 | -0.80902
178 | 0.445 | -0.58779
179 | 0.4475 | -0.30902
180 | 0.45 | -2.2044e-15
181 | 0.4525 | 0.30902
182 | 0.455 | 0.58779
183 | 0.4575 | 0.80902
184 | 0.46 | 0.95106
185 | 0.4625 | 1
186 | 0.465 | 0.95106
187 | 0.4675 | 0.80902
188 | 0.47 | 0.58779
189 | 0.4725 | 0.30902
190 | 0.475 | -1.2259e-15
191 | 0.4775 | -0.30902
192 | 0.48 | -0.58779
193 | 0.4825 | -0.80902
194 | 0.485 | -0.95106
195 | 0.4875 | -1
196 | 0.49 | -0.95106
197 | 0.4925 | -0.80902
198 | 0.495 | -0.58779
199 | 0.4975 | -0.30902
200 | 0.5 | -2.4493e-15
201 | 0.5025 | 0.30902
202 | 0.505 | 0.58779
203 | 0.5075 | 0.80902
204 | 0.51 | 0.95106
205 | 0.5125 | 1
206 | 0.515 | 0.95106
207 | 0.5175 | 0.80902
208 | 0.52 | 0.58779
209 | 0.5225 | 0.30902
210 | 0.525 | -9.8096e-16
211 | 0.5275 | -0.30902
212 | 0.53 | -0.58779
213 | 0.5325 | -0.80902
214 | 0.535 | -0.95106
215 | 0.5375 | -1
216 | 0.54 | -0.95106
217 | 0.5425 | -0.80902
218 | 0.545 | -0.58779
219 | 0.5475 | -0.30902
220 | 0.55 | 4.4112e-15
221 | 0.5525 | 0.30902
222 | 0.555 | 0.58779
223 | 0.5575 | 0.80902
224 | 0.56 | 0.95106
225 | 0.5625 | 1
226 | 0.565 | 0.95106
227 | 0.5675 | 0.80902
228 | 0.57 | 0.58779
229 | 0.5725 | 0.30902
230 | 0.575 | -7.8415e-15
231 | 0.5775 | -0.30902
232 | 0.58 | -0.58779
233 | 0.5825 | -0.80902
234 | 0.585 | -0.95106
235 | 0.5875 | -1
236 | 0.59 | -0.95106
237 | 0.5925 | -0.80902
238 | 0.595 | -0.58779
239 | 0.5975 | -0.30902
240 | 0.6 | -2.9392e-15
241 | 0.6025 | 0.30902
242 | 0.605 | 0.58779
243 | 0.6075 | 0.80902
244 | 0.61 | 0.95106
245 | 0.6125 | 1
246 | 0.615 | 0.95106
247 | 0.6175 | 0.80902
248 | 0.62 | 0.58779
249 | 0.6225 | 0.30902
250 | 0.625 | -4.911e-16
251 | 0.6275 | -0.30902
252 | 0.63 | -0.58779
253 | 0.6325 | -0.80902
254 | 0.635 | -0.95106
255 | 0.6375 | -1
256 | 0.64 | -0.95106
257 | 0.6425 | -0.80902
258 | 0.645 | -0.58779
259 | 0.6475 | -0.30902
260 | 0.65 | 3.9213e-15
261 | 0.6525 | 0.30902
262 | 0.655 | 0.58779
263 | 0.6575 | 0.80902
264 | 0.66 | 0.95106
265 | 0.6625 | 1
266 | 0.665 | 0.95106
267 | 0.6675 | 0.80902
268 | 0.67 | 0.58779
269 | 0.6725 | 0.30902
270 | 0.675 | -7.3516e-15
271 | 0.6775 | -0.30902
272 | 0.68 | -0.58779
273 | 0.6825 | -0.80902
274 | 0.685 | -0.95106
275 | 0.6875 | -1
276 | 0.69 | -0.95106
277 | 0.6925 | -0.80902
278 | 0.695 | -0.58779
279 | 0.6975 | -0.30902
280 | 0.7 | 1.0782e-14
281 | 0.7025 | 0.30902
282 | 0.705 | 0.58779
283 | 0.7075 | 0.80902
284 | 0.71 | 0.95106
285 | 0.7125 | 1
286 | 0.715 | 0.95106
287 | 0.7175 | 0.80902
288 | 0.72 | 0.58779
289 | 0.7225 | 0.30902
290 | 0.725 | -1.238e-18
291 | 0.7275 | -0.30902
292 | 0.73 | -0.58779
293 | 0.7325 | -0.80902
294 | 0.735 | -0.95106
295 | 0.7375 | -1
296 | 0.74 | -0.95106
297 | 0.7425 | -0.80902
298 | 0.745 | -0.58779
299 | 0.7475 | -0.30902
300 | 0.75 | -1.0779e-14
301 | 0.7525 | 0.30902
302 | 0.755 | 0.58779
303 | 0.7575 | 0.80902
304 | 0.76 | 0.95106
305 | 0.7625 | 1
306 | 0.765 | 0.95106
307 | 0.7675 | 0.80902
308 | 0.77 | 0.58779
309 | 0.7725 | 0.30902
310 | 0.775 | 7.3491e-15
311 | 0.7775 | -0.30902
312 | 0.78 | -0.58779
313 | 0.7825 | -0.80902
314 | 0.785 | -0.95106
315 | 0.7875 | -1
316 | 0.79 | -0.95106
317 | 0.7925 | -0.80902
318 | 0.795 | -0.58779
319 | 0.7975 | -0.30902
320 | 0.8 | -3.9189e-15
321 | 0.8025 | 0.30902
322 | 0.805 | 0.58779
323 | 0.8075 | 0.80902
324 | 0.81 | 0.95106
325 | 0.8125 | 1
326 | 0.815 | 0.95106
327 | 0.8175 | 0.80902
328 | 0.82 | 0.58779
329 | 0.8225 | 0.30902
330 | 0.825 | 4.8862e-16
331 | 0.8275 | -0.30902
332 | 0.83 | -0.58779
333 | 0.8325 | -0.80902
334 | 0.835 | -0.95106
335 | 0.8375 | -1
336 | 0.84 | -0.95106
337 | 0.8425 | -0.80902
338 | 0.845 | -0.58779
339 | 0.8475 | -0.30902
340 | 0.85 | -1.1269e-14
341 | 0.8525 | 0.30902
342 | 0.855 | 0.58779
343 | 0.8575 | 0.80902
344 | 0.86 | 0.95106
345 | 0.8625 | 1
346 | 0.865 | 0.95106
347 | 0.8675 | 0.80902
348 | 0.87 | 0.58779
349 | 0.8725 | 0.30902
350 | 0.875 | 7.839e-15
351 | 0.8775 | -0.30902
352 | 0.88 | -0.58779
353 | 0.8825 | -0.80902
354 | 0.885 | -0.95106
355 | 0.8875 | -1
356 | 0.89 | -0.95106
357 | 0.8925 | -0.80902
358 | 0.895 | -0.58779
359 | 0.8975 | -0.30902
360 | 0.9 | -4.4087e-15
361 | 0.9025 | 0.30902
362 | 0.905 | 0.58779
363 | 0.9075 | 0.80902
364 | 0.91 | 0.95106
365 | 0.9125 | 1
366 | 0.915 | 0.95106
367 | 0.9175 | 0.80902
368 | 0.92 | 0.58779
369 | 0.9225 | 0.30902
370 | 0.925 | 9.7848e-16
371 | 0.9275 | -0.30902
372 | 0.93 | -0.58779
373 | 0.9325 | -0.80902
374 | 0.935 | -0.95106
375 | 0.9375 | -1
376 | 0.94 | -0.95106
377 | 0.9425 | -0.80902
378 | 0.945 | -0.58779
379 | 0.9475 | -0.30902
380 | 0.95 | 2.4518e-15
381 | 0.9525 | 0.30902
382 | 0.955 | 0.58779
383 | 0.9575 | 0.80902
384 | 0.96 | 0.95106
385 | 0.9625 | 1
386 | 0.965 | 0.95106
387 | 0.9675 | 0.80902
388 | 0.97 | 0.58779
389 | 0.9725 | 0.30902
390 | 0.975 | 8.3288e-15
391 | 0.9775 | -0.30902
392 | 0.98 | -0.58779
393 | 0.9825 | -0.80902
394 | 0.985 | -0.95106
395 | 0.9875 | -1
396 | 0.99 | -0.95106
397 | 0.9925 | -0.80902
398 | 0.995 | -0.58779
399 | 0.9975 | -0.30902
400 | 1 | -4.8986e-15
401 | 1.0025 | 0.30902
402 | 1.005 | 0.58779
403 | 1.0075 | 0.80902
404 | 1.01 | 0.95106
405 | 1.0125 | 1
406 | 1.015 | 0.95106
407 | 1.0175 | 0.80902
408 | 1.02 | 0.58779
409 | 1.0225 | 0.30902
410 | 1.025 | 1.5679e-14
411 | 1.0275 | -0.30902
412 | 1.03 | -0.58779
413 | 1.0325 | -0.80902
414 | 1.035 | -0.95106
415 | 1.0375 | -1
416 | 1.04 | -0.95106
417 | 1.0425 | -0.80902
418 | 1.045 | -0.58779
419 | 1.0475 | -0.30902
420 | 1.05 | 1.9619e-15
421 | 1.0525 | 0.30902
422 | 1.055 | 0.58779
423 | 1.0575 | 0.80902
424 | 1.06 | 0.95106
425 | 1.0625 | 1
426 | 1.065 | 0.95106
427 | 1.0675 | 0.80902
428 | 1.07 | 0.58779
429 | 1.0725 | 0.30902
430 | 1.075 | 8.8187e-15
431 | 1.0775 | -0.30902
432 | 1.08 | -0.58779
433 | 1.0825 | -0.80902
434 | 1.085 | -0.95106
435 | 1.0875 | -1
436 | 1.09 | -0.95106
437 | 1.0925 | -0.80902
438 | 1.095 | -0.58779
439 | 1.0975 | -0.30902
440 | 1.1 | 8.8224e-15
441 | 1.1025 | 0.30902
442 | 1.105 | 0.58779
443 | 1.1075 | 0.80902
444 | 1.11 | 0.95106
445 | 1.1125 | 1
446 | 1.115 | 0.95106
447 | 1.1175 | 0.80902
448 | 1.12 | 0.58779
449 | 1.1225 | 0.30902
450 | 1.125 | 1.9582e-15
451 | 1.1275 | -0.30902
452 | 1.13 | -0.58779
453 | 1.1325 | -0.80902
454 | 1.135 | -0.95106
455 | 1.1375 | -1
456 | 1.14 | -0.95106
457 | 1.1425 | -0.80902
458 | 1.145 | -0.58779
459 | 1.1475 | -0.30902
460 | 1.15 | 1.5683e-14
461 | 1.1525 | 0.30902
462 | 1.155 | 0.58779
463 | 1.1575 | 0.80902
464 | 1.16 | 0.95106
465 | 1.1625 | 1
466 | 1.165 | 0.95106
467 | 1.1675 | 0.80902
468 | 1.17 | 0.58779
469 | 1.1725 | 0.30902
470 | 1.175 | -4.9023e-15
471 | 1.1775 | -0.30902
472 | 1.18 | -0.58779
473 | 1.1825 | -0.80902
474 | 1.185 | -0.95106
475 | 1.1875 | -1
476 | 1.19 | -0.95106
477 | 1.1925 | -0.80902
478 | 1.195 | -0.58779
479 | 1.1975 | -0.30902
480 | 1.2 | -5.8783e-15
481 | 1.2025 | 0.30902
482 | 1.205 | 0.58779
483 | 1.2075 | 0.80902
484 | 1.21 | 0.95106
485 | 1.2125 | 1
486 | 1.215 | 0.95106
487 | 1.2175 | 0.80902
488 | 1.22 | 0.58779
489 | 1.2225 | 0.30902
490 | 1.225 | -1.1763e-14
491 | 1.2275 | -0.30902
492 | 1.23 | -0.58779
493 | 1.2325 | -0.80902
494 | 1.235 | -0.95106
495 | 1.2375 | -1
496 | 1.24 | -0.95106
497 | 1.2425 | -0.80902
498 | 1.245 | -0.58779
499 | 1.2475 | -0.30902
500 | 1.25 | 9.8219e-16
501 | 1.2525 | 0.30902
502 | 1.255 | 0.58779
503 | 1.2575 | 0.80902
504 | 1.26 | 0.95106
505 | 1.2625 | 1
506 | 1.265 | 0.95106
507 | 1.2675 | 0.80902
508 | 1.27 | 0.58779
509 | 1.2725 | 0.30902
510 | 1.275 | -1.8623e-14
511 | 1.2775 | -0.30902
512 | 1.28 | -0.58779
513 | 1.2825 | -0.80902
514 | 1.285 | -0.95106
515 | 1.2875 | -1
516 | 1.29 | -0.95106
517 | 1.2925 | -0.80902
518 | 1.295 | -0.58779
519 | 1.2975 | -0.30902
520 | 1.3 | 7.8427e-15
521 | 1.3025 | 0.30902
522 | 1.305 | 0.58779
523 | 1.3075 | 0.80902
524 | 1.31 | 0.95106
525 | 1.3125 | 1
526 | 1.315 | 0.95106
527 | 1.3175 | 0.80902
528 | 1.32 | 0.58779
529 | 1.3225 | 0.30902
530 | 1.325 | 2.9379e-15
531 | 1.3275 | -0.30902
532 | 1.33 | -0.58779
533 | 1.3325 | -0.80902
534 | 1.335 | -0.95106
535 | 1.3375 | -1
536 | 1.34 | -0.95106
537 | 1.3425 | -0.80902
538 | 1.345 | -0.58779
539 | 1.3475 | -0.30902
540 | 1.35 | 1.4703e-14
541 | 1.3525 | 0.30902
542 | 1.355 | 0.58779
543 | 1.3575 | 0.80902
544 | 1.36 | 0.95106
545 | 1.3625 | 1
546 | 1.365 | 0.95106
547 | 1.3675 | 0.80902
548 | 1.37 | 0.58779
549 | 1.3725 | 0.30902
550 | 1.375 | -3.9226e-15
551 | 1.3775 | -0.30902
552 | 1.38 | -0.58779
553 | 1.3825 | -0.80902
554 | 1.385 | -0.95106
555 | 1.3875 | -1
556 | 1.39 | -0.95106
557 | 1.3925 | -0.80902
558 | 1.395 | -0.58779
559 | 1.3975 | -0.30902
560 | 1.4 | 2.1564e-14
561 | 1.4025 | 0.30902
562 | 1.405 | 0.58779
563 | 1.4075 | 0.80902
564 | 1.41 | 0.95106
565 | 1.4125 | 1
566 | 1.415 | 0.95106
567 | 1.4175 | 0.80902
568 | 1.42 | 0.58779
569 | 1.4225 | 0.30902
570 | 1.425 | -1.0783e-14
571 | 1.4275 | -0.30902
572 | 1.43 | -0.58779
573 | 1.4325 | -0.80902
574 | 1.435 | -0.95106
575 | 1.4375 | -1
576 | 1.44 | -0.95106
577 | 1.4425 | -0.80902
578 | 1.445 | -0.58779
579 | 1.4475 | -0.30902
580 | 1.45 | 2.4759e-18
581 | 1.4525 | 0.30902
582 | 1.455 | 0.58779
583 | 1.4575 | 0.80902
584 | 1.46 | 0.95106
585 | 1.4625 | 1
586 | 1.465 | 0.95106
587 | 1.4675 | 0.80902
588 | 1.47 | 0.58779
589 | 1.4725 | 0.30902
590 | 1.475 | -1.7644e-14
591 | 1.4775 | -0.30902
592 | 1.48 | -0.58779
593 | 1.4825 | -0.80902
594 | 1.485 | -0.95106
595 | 1.4875 | -1
596 | 1.49 | -0.95106
597 | 1.4925 | -0.80902
598 | 1.495 | -0.58779
599 | 1.4975 | -0.30902
600 | 1.5 | -2.1559e-14
601 | 1.5025 | 0.30902
602 | 1.505 | 0.58779
603 | 1.5075 | 0.80902
604 | 1.51 | 0.95106
605 | 1.5125 | 1
606 | 1.515 | 0.95106
607 | 1.5175 | 0.80902
608 | 1.52 | 0.58779
609 | 1.5225 | 0.30902
610 | 1.525 | 3.9176e-15
611 | 1.5275 | -0.30902
612 | 1.53 | -0.58779
613 | 1.5325 | -0.80902
614 | 1.535 | -0.95106
615 | 1.5375 | -1
616 | 1.54 | -0.95106
617 | 1.5425 | -0.80902
618 | 1.545 | -0.58779
619 | 1.5475 | -0.30902
620 | 1.55 | -1.4698e-14
621 | 1.5525 | 0.30902
622 | 1.555 | 0.58779
623 | 1.5575 | 0.80902
624 | 1.56 | 0.95106
625 | 1.5625 | 1
626 | 1.565 | 0.95106
627 | 1.5675 | 0.80902
628 | 1.57 | 0.58779
629 | 1.5725 | 0.30902
630 | 1.575 | 2.5479e-14
631 | 1.5775 | -0.30902
632 | 1.58 | -0.58779
633 | 1.5825 | -0.80902
634 | 1.585 | -0.95106
635 | 1.5875 | -1
636 | 1.59 | -0.95106
637 | 1.5925 | -0.80902
638 | 1.595 | -0.58779
639 | 1.5975 | -0.30902
640 | 1.6 | -7.8377e-15
641 | 1.6025 | 0.30902
642 | 1.605 | 0.58779
643 | 1.6075 | 0.80902
644 | 1.61 | 0.95106
645 | 1.6125 | 1
646 | 1.615 | 0.95106
647 | 1.6175 | 0.80902
648 | 1.62 | 0.58779
649 | 1.6225 | 0.30902
650 | 1.625 | 1.8618e-14
651 | 1.6275 | -0.30902
652 | 1.63 | -0.58779
653 | 1.6325 | -0.80902
654 | 1.635 | -0.95106
655 | 1.6375 | -1
656 | 1.64 | -0.95106
657 | 1.6425 | -0.80902
658 | 1.645 | -0.58779
659 | 1.6475 | -0.30902
660 | 1.65 | -9.7724e-16
661 | 1.6525 | 0.30902
662 | 1.655 | 0.58779
663 | 1.6575 | 0.80902
664 | 1.66 | 0.95106
665 | 1.6625 | 1
666 | 1.665 | 0.95106
667 | 1.6675 | 0.80902
668 | 1.67 | 0.58779
669 | 1.6725 | 0.30902
670 | 1.675 | 1.1758e-14
671 | 1.6775 | -0.30902
672 | 1.68 | -0.58779
673 | 1.6825 | -0.80902
674 | 1.685 | -0.95106
675 | 1.6875 | -1
676 | 1.69 | -0.95106
677 | 1.6925 | -0.80902
678 | 1.695 | -0.58779
679 | 1.6975 | -0.30902
680 | 1.7 | -2.2538e-14
681 | 1.7025 | 0.30902
682 | 1.705 | 0.58779
683 | 1.7075 | 0.80902
684 | 1.71 | 0.95106
685 | 1.7125 | 1
686 | 1.715 | 0.95106
687 | 1.7175 | 0.80902
688 | 1.72 | 0.58779
689 | 1.7225 | 0.30902
690 | 1.725 | 4.8973e-15
691 | 1.7275 | -0.30902
692 | 1.73 | -0.58779
693 | 1.7325 | -0.80902
694 | 1.735 | -0.95106
695 | 1.7375 | -1
696 | 1.74 | -0.95106
697 | 1.7425 | -0.80902
698 | 1.745 | -0.58779
699 | 1.7475 | -0.30902
700 | 1.75 | -1.5678e-14
701 | 1.7525 | 0.30902
702 | 1.755 | 0.58779
703 | 1.7575 | 0.80902
704 | 1.76 | 0.95106
705 | 1.7625 | 1
706 | 1.765 | 0.95106
707 | 1.7675 | 0.80902
708 | 1.77 | 0.58779
709 | 1.7725 | 0.30902
710 | 1.775 | -1.9631e-15
711 | 1.7775 | -0.30902
712 | 1.78 | -0.58779
713 | 1.7825 | -0.80902
714 | 1.785 | -0.95106
715 | 1.7875 | -1
716 | 1.79 | -0.95106
717 | 1.7925 | -0.80902
718 | 1.795 | -0.58779
719 | 1.7975 | -0.30902
720 | 1.8 | -8.8175e-15
721 | 1.8025 | 0.30902
722 | 1.805 | 0.58779
723 | 1.8075 | 0.80902
724 | 1.81 | 0.95106
725 | 1.8125 | 1
726 | 1.815 | 0.95106
727 | 1.8175 | 0.80902
728 | 1.82 | 0.58779
729 | 1.8225 | 0.30902
730 | 1.825 | 1.9598e-14
731 | 1.8275 | -0.30902
732 | 1.83 | -0.58779
733 | 1.8325 | -0.80902
734 | 1.835 | -0.95106
735 | 1.8375 | -1
736 | 1.84 | -0.95106
737 | 1.8425 | -0.80902
738 | 1.845 | -0.58779
739 | 1.8475 | -0.30902
740 | 1.85 | -1.957e-15
741 | 1.8525 | 0.30902
742 | 1.855 | 0.58779
743 | 1.8575 | 0.80902
744 | 1.86 | 0.95106
745 | 1.8625 | 1
746 | 1.865 | 0.95106
747 | 1.8675 | 0.80902
748 | 1.87 | 0.58779
749 | 1.8725 | 0.30902
750 | 1.875 | 1.2738e-14
751 | 1.8775 | -0.30902
752 | 1.88 | -0.58779
753 | 1.8825 | -0.80902
754 | 1.885 | -0.95106
755 | 1.8875 | -1
756 | 1.89 | -0.95106
757 | 1.8925 | -0.80902
758 | 1.895 | -0.58779
759 | 1.8975 | -0.30902
760 | 1.9 | 4.9035e-15
761 | 1.9025 | 0.30902
762 | 1.905 | 0.58779
763 | 1.9075 | 0.80902
764 | 1.91 | 0.95106
765 | 1.9125 | 1
766 | 1.915 | 0.95106
767 | 1.9175 | 0.80902
768 | 1.92 | 0.58779
769 | 1.9225 | 0.30902
770 | 1.925 | 5.8771e-15
771 | 1.9275 | -0.30902
772 | 1.93 | -0.58779
773 | 1.9325 | -0.80902
774 | 1.935 | -0.95106
775 | 1.9375 | -1
776 | 1.94 | -0.95106
777 | 1.9425 | -0.80902
778 | 1.945 | -0.58779
779 | 1.9475 | -0.30902
780 | 1.95 | -1.6658e-14
781 | 1.9525 | 0.30902
782 | 1.955 | 0.58779
783 | 1.9575 | 0.80902
784 | 1.96 | 0.95106
785 | 1.9625 | 1
786 | 1.965 | 0.95106
787 | 1.9675 | 0.80902
788 | 1.97 | 0.58779
789 | 1.9725 | 0.30902
790 | 1.975 | -9.8343e-16
791 | 1.9775 | -0.30902
792 | 1.98 | -0.58779
793 | 1.9825 | -0.80902
794 | 1.985 | -0.95106
795 | 1.9875 | -1
796 | 1.99 | -0.95106
797 | 1.9925 | -0.80902
798 | 1.995 | -0.58779
799 | 1.9975 | -0.30902
800 | 2 | -9.7972e-15
801 | 2.0025 | 0.30902
802 | 2.005 | 0.58779
803 | 2.0075 | 0.80902
804 | 2.01 | 0.95106
805 | 2.0125 | 1
806 | 2.015 | 0.95106
807 | 2.0175 | 0.80902
808 | 2.02 | 0.58779
809 | 2.0225 | 0.30902
810 | 2.025 | 2.0578e-14
811 | 2.0275 | -0.30902
812 | 2.03 | -0.58779
813 | 2.0325 | -0.80902
814 | 2.035 | -0.95106
815 | 2.0375 | -1
816 | 2.04 | -0.95106
817 | 2.0425 | -0.80902
818 | 2.045 | -0.58779
819 | 2.0475 | -0.30902
820 | 2.05 | -3.1358e-14
821 | 2.0525 | 0.30902
822 | 2.055 | 0.58779
823 | 2.0575 | 0.80902
824 | 2.06 | 0.95106
825 | 2.0625 | 1
826 | 2.065 | 0.95106
827 | 2.0675 | 0.80902
828 | 2.07 | 0.58779
829 | 2.0725 | 0.30902
830 | 2.075 | -1.4704e-14
831 | 2.0775 | -0.30902
832 | 2.08 | -0.58779
833 | 2.0825 | -0.80902
834 | 2.085 | -0.95106
835 | 2.0875 | -1
836 | 2.09 | -0.95106
837 | 2.0925 | -0.80902
838 | 2.095 | -0.58779
839 | 2.0975 | -0.30902
840 | 2.1 | 3.9238e-15
841 | 2.1025 | 0.30902
842 | 2.105 | 0.58779
843 | 2.1075 | 0.80902
844 | 2.11 | 0.95106
845 | 2.1125 | 1
846 | 2.115 | 0.95106
847 | 2.1175 | 0.80902
848 | 2.12 | 0.58779
849 | 2.1225 | 0.30902
850 | 2.125 | 6.8568e-15
851 | 2.1275 | -0.30902
852 | 2.13 | -0.58779
853 | 2.1325 | -0.80902
854 | 2.135 | -0.95106
855 | 2.1375 | -1
856 | 2.14 | -0.95106
857 | 2.1425 | -0.80902
858 | 2.145 | -0.58779
859 | 2.1475 | -0.30902
860 | 2.15 | -1.7637e-14
861 | 2.1525 | 0.30902
862 | 2.155 | 0.58779
863 | 2.1575 | 0.80902
864 | 2.16 | 0.95106
865 | 2.1625 | 1
866 | 2.165 | 0.95106
867 | 2.1675 | 0.80902
868 | 2.17 | 0.58779
869 | 2.1725 | 0.30902
870 | 2.175 | -2.8425e-14
871 | 2.1775 | -0.30902
872 | 2.18 | -0.58779
873 | 2.1825 | -0.80902
874 | 2.185 | -0.95106
875 | 2.1875 | -1
876 | 2.19 | -0.95106
877 | 2.1925 | -0.80902
878 | 2.195 | -0.58779
879 | 2.1975 | -0.30902
880 | 2.2 | 1.7645e-14
881 | 2.2025 | 0.30902
882 | 2.205 | 0.58779
883 | 2.2075 | 0.80902
884 | 2.21 | 0.95106
885 | 2.2125 | 1
886 | 2.215 | 0.95106
887 | 2.2175 | 0.80902
888 | 2.22 | 0.58779
889 | 2.2225 | 0.30902
890 | 2.225 | -6.8642e-15
891 | 2.2275 | -0.30902
892 | 2.23 | -0.58779
893 | 2.2325 | -0.80902
894 | 2.235 | -0.95106
895 | 2.2375 | -1
896 | 2.24 | -0.95106
897 | 2.2425 | -0.80902
898 | 2.245 | -0.58779
899 | 2.2475 | -0.30902
900 | 2.25 | -3.9164e-15
901 | 2.2525 | 0.30902
902 | 2.255 | 0.58779
903 | 2.2575 | 0.80902
904 | 2.26 | 0.95106
905 | 2.2625 | 1
906 | 2.265 | 0.95106
907 | 2.2675 | 0.80902
908 | 2.27 | 0.58779
909 | 2.2725 | 0.30902
910 | 2.275 | 1.4697e-14
911 | 2.2775 | -0.30902
912 | 2.28 | -0.58779
913 | 2.2825 | -0.80902
914 | 2.285 | -0.95106
915 | 2.2875 | -1
916 | 2.29 | -0.95106
917 | 2.2925 | -0.80902
918 | 2.295 | -0.58779
919 | 2.2975 | -0.30902
920 | 2.3 | 3.1366e-14
921 | 2.3025 | 0.30902
922 | 2.305 | 0.58779
923 | 2.3075 | 0.80902
924 | 2.31 | 0.95106
925 | 2.3125 | 1
926 | 2.315 | 0.95106
927 | 2.3175 | 0.80902
928 | 2.32 | 0.58779
929 | 2.3225 | 0.30902
930 | 2.325 | -2.0585e-14
931 | 2.3275 | -0.30902
932 | 2.33 | -0.58779
933 | 2.3325 | -0.80902
934 | 2.335 | -0.95106
935 | 2.3375 | -1
936 | 2.34 | -0.95106
937 | 2.3425 | -0.80902
938 | 2.345 | -0.58779
939 | 2.3475 | -0.30902
940 | 2.35 | 9.8046e-15
941 | 2.3525 | 0.30902
942 | 2.355 | 0.58779
943 | 2.3575 | 0.80902
944 | 2.36 | 0.95106
945 | 2.3625 | 1
946 | 2.365 | 0.95106
947 | 2.3675 | 0.80902
948 | 2.37 | 0.58779
949 | 2.3725 | 0.30902
950 | 2.375 | 9.76e-16
951 | 2.3775 | -0.30902
952 | 2.38 | -0.58779
953 | 2.3825 | -0.80902
954 | 2.385 | -0.95106
955 | 2.3875 | -1
956 | 2.39 | -0.95106
957 | 2.3925 | -0.80902
958 | 2.395 | -0.58779
959 | 2.3975 | -0.30902
960 | 2.4 | -1.1757e-14
961 | 2.4025 | 0.30902
962 | 2.405 | 0.58779
963 | 2.4075 | 0.80902
964 | 2.41 | 0.95106
965 | 2.4125 | 1
966 | 2.415 | 0.95106
967 | 2.4175 | 0.80902
968 | 2.42 | 0.58779
969 | 2.4225 | 0.30902
970 | 2.425 | -3.4306e-14
971 | 2.4275 | -0.30902
972 | 2.43 | -0.58779
973 | 2.4325 | -0.80902
974 | 2.435 | -0.95106
975 | 2.4375 | -1
976 | 2.44 | -0.95106
977 | 2.4425 | -0.80902
978 | 2.445 | -0.58779
979 | 2.4475 | -0.30902
980 | 2.45 | 2.3526e-14
981 | 2.4525 | 0.30902
982 | 2.455 | 0.58779
983 | 2.4575 | 0.80902
984 | 2.46 | 0.95106
985 | 2.4625 | 1
986 | 2.465 | 0.95106
987 | 2.4675 | 0.80902
988 | 2.47 | 0.58779
989 | 2.4725 | 0.30902
990 | 2.475 | -1.2745e-14
991 | 2.4775 | -0.30902
992 | 2.48 | -0.58779
993 | 2.4825 | -0.80902
994 | 2.485 | -0.95106
995 | 2.4875 | -1
996 | 2.49 | -0.95106
997 | 2.4925 | -0.80902
998 | 2.495 | -0.58779
999 | 2.4975 | -0.30902
1000 | 2.5 | 1.9644e-15
1001 | 2.5025 | 0.30902
1002 | 2.505 | 0.58779
1003 | 2.5075 | 0.80902
1004 | 2.51 | 0.95106
1005 | 2.5125 | 1
1006 | 2.515 | 0.95106
1007 | 2.5175 | 0.80902
1008 | 2.52 | 0.58779
1009 | 2.5225 | 0.30902
1010 | 2.525 | 8.8162e-15
1011 | 2.5275 | -0.30902
1012 | 2.53 | -0.58779
1013 | 2.5325 | -0.80902
1014 | 2.535 | -0.95106
1015 | 2.5375 | -1
1016 | 2.54 | -0.95106
1017 | 2.5425 | -0.80902
1018 | 2.545 | -0.58779
1019 | 2.5475 | -0.30902
1020 | 2.55 | 3.7247e-14
1021 | 2.5525 | 0.30902
1022 | 2.555 | 0.58779
1023 | 2.5575 | 0.80902
1024 | 2.56 | 0.95106

## FFT
FFT of the time signal: