## Sheet1
Simulated digital data acquisition with potential aliasing
J. M. Cimbala
| Instructions: The | highlighted | cells are user-adjustable. |  | Set sampling frequency fs < 2f to simulate aliasing.
Change f and tstart to simulate realistic lab conditions.
Continuous (analog) signal: |  |  | g(t) = C + Asin(2pft - f)
| C = | 2 | V | (DC offset of signal)
| A = | 3 | V | (amplitude of signal)
| f = | 10 | Hz | (frequency of signal)
| f = | 0 | rad | (phase shift of signal)
| T = | 0.1 | s | (period of signal)
| Dt = | 0.005 | s | (small time step for the plot)
Discretely sampled (digital) signal: |  |  |  |  | Comparison of analog time trace and digital (discrete) sampling:
| fs = | 100 | Hz | (sampling frequency)
| tstart = | 0 | s | (start time for sampling)
| Dtsample = | 0.01 | s | (time step for sampling)
| fperceived = | 10 | Hz | (perceived frequency)
n | tanalog (s) | g(t)analog | tsample (s) | g(t)discrete sample
0 | 0 | 2 | 0 | 2
1 | 0.005 | 2.9271 | 0.01 | 3.7634
2 | 0.01 | 3.7634 | 0.02 | 4.8532
3 | 0.015 | 4.4271 | 0.03 | 4.8532
4 | 0.02 | 4.8532 | 0.04 | 3.7634
5 | 0.025 | 5 | 0.05 | 2
6 | 0.03 | 4.8532 | 0.06 | 0.23664
7 | 0.035 | 4.4271 | 0.07 | -0.85317
8 | 0.04 | 3.7634 | 0.08 | -0.85317
9 | 0.045 | 2.9271 | 0.09 | 0.23664
10 | 0.05 | 2 | 0.1 | 2
11 | 0.055 | 1.0729 | 0.11 | 3.7634
12 | 0.06 | 0.23664 | 0.12 | 4.8532
13 | 0.065 | -0.42705 | 0.13 | 4.8532
14 | 0.07 | -0.85317 | 0.14 | 3.7634
15 | 0.075 | -1 | 0.15 | 2
16 | 0.08 | -0.85317 | 0.16 | 0.23664
17 | 0.085 | -0.42705 | 0.17 | -0.85317
18 | 0.09 | 0.23664 | 0.18 | -0.85317
19 | 0.095 | 1.0729 | 0.19 | 0.23664
20 | 0.1 | 2 | 0.2 | 2
21 | 0.105 | 2.9271 | 0.21 | 3.7634
22 | 0.11 | 3.7634 | 0.22 | 4.8532
23 | 0.115 | 4.4271 | 0.23 | 4.8532
24 | 0.12 | 4.8532 | 0.24 | 3.7634
25 | 0.125 | 5 | 0.25 | 2
26 | 0.13 | 4.8532 | 0.26 | 0.23664
27 | 0.135 | 4.4271 | 0.27 | -0.85317
28 | 0.14 | 3.7634 | 0.28 | -0.85317
29 | 0.145 | 2.9271 | 0.29 | 0.23664
30 | 0.15 | 2 | 0.3 | 2
31 | 0.155 | 1.0729 | 0.31 | 3.7634
32 | 0.16 | 0.23664 | 0.32 | 4.8532
33 | 0.165 | -0.42705 | 0.33 | 4.8532
34 | 0.17 | -0.85317 | 0.34 | 3.7634
35 | 0.175 | -1 | 0.35 | 2
36 | 0.18 | -0.85317 | 0.36 | 0.23664
37 | 0.185 | -0.42705 | 0.37 | -0.85317
38 | 0.19 | 0.23664 | 0.38 | -0.85317
39 | 0.195 | 1.0729 | 0.39 | 0.23664
40 | 0.2 | 2 | 0.4 | 2
41 | 0.205 | 2.9271 | 0.41 | 3.7634
42 | 0.21 | 3.7634 | 0.42 | 4.8532
43 | 0.215 | 4.4271 | 0.43 | 4.8532
44 | 0.22 | 4.8532 | 0.44 | 3.7634
45 | 0.225 | 5 | 0.45 | 2
46 | 0.23 | 4.8532 | 0.46 | 0.23664
47 | 0.235 | 4.4271 | 0.47 | -0.85317
48 | 0.24 | 3.7634 | 0.48 | -0.85317
49 | 0.245 | 2.9271 | 0.49 | 0.23664
50 | 0.25 | 2 | 0.5 | 2
51 | 0.255 | 1.0729 | 0.51 | 3.7634
52 | 0.26 | 0.23664 | 0.52 | 4.8532
53 | 0.265 | -0.42705 | 0.53 | 4.8532
54 | 0.27 | -0.85317 | 0.54 | 3.7634
55 | 0.275 | -1 | 0.55 | 2
56 | 0.28 | -0.85317 | 0.56 | 0.23664
57 | 0.285 | -0.42705 | 0.57 | -0.85317
58 | 0.29 | 0.23664 | 0.58 | -0.85317
59 | 0.295 | 1.0729 | 0.59 | 0.23664
60 | 0.3 | 2 | 0.6 | 2
61 | 0.305 | 2.9271 | 0.61 | 3.7634
62 | 0.31 | 3.7634 | 0.62 | 4.8532
63 | 0.315 | 4.4271 | 0.63 | 4.8532
64 | 0.32 | 4.8532 | 0.64 | 3.7634
65 | 0.325 | 5 | 0.65 | 2
66 | 0.33 | 4.8532 | 0.66 | 0.23664
67 | 0.335 | 4.4271 | 0.67 | -0.85317
68 | 0.34 | 3.7634 | 0.68 | -0.85317
69 | 0.345 | 2.9271 | 0.69 | 0.23664
70 | 0.35 | 2 | 0.7 | 2
71 | 0.355 | 1.0729 | 0.71 | 3.7634
72 | 0.36 | 0.23664 | 0.72 | 4.8532
73 | 0.365 | -0.42705 | 0.73 | 4.8532
74 | 0.37 | -0.85317 | 0.74 | 3.7634
75 | 0.375 | -1 | 0.75 | 2
76 | 0.38 | -0.85317 | 0.76 | 0.23664
77 | 0.385 | -0.42705 | 0.77 | -0.85317
78 | 0.39 | 0.23664 | 0.78 | -0.85317
79 | 0.395 | 1.0729 | 0.79 | 0.23664
80 | 0.4 | 2 | 0.8 | 2
81 | 0.405 | 2.9271 | 0.81 | 3.7634
82 | 0.41 | 3.7634 | 0.82 | 4.8532
83 | 0.415 | 4.4271 | 0.83 | 4.8532
84 | 0.42 | 4.8532 | 0.84 | 3.7634
85 | 0.425 | 5 | 0.85 | 2
86 | 0.43 | 4.8532 | 0.86 | 0.23664
87 | 0.435 | 4.4271 | 0.87 | -0.85317
88 | 0.44 | 3.7634 | 0.88 | -0.85317
89 | 0.445 | 2.9271 | 0.89 | 0.23664
90 | 0.45 | 2 | 0.9 | 2
91 | 0.455 | 1.0729 | 0.91 | 3.7634
92 | 0.46 | 0.23664 | 0.92 | 4.8532
93 | 0.465 | -0.42705 | 0.93 | 4.8532
94 | 0.47 | -0.85317 | 0.94 | 3.7634
95 | 0.475 | -1 | 0.95 | 2
96 | 0.48 | -0.85317 | 0.96 | 0.23664
97 | 0.485 | -0.42705 | 0.97 | -0.85317
98 | 0.49 | 0.23664 | 0.98 | -0.85317
99 | 0.495 | 1.0729 | 0.99 | 0.23664
100 | 0.5 | 2 | 1 | 2
101 | 0.505 | 2.9271 | 1.01 | 3.7634
102 | 0.51 | 3.7634 | 1.02 | 4.8532
103 | 0.515 | 4.4271 | 1.03 | 4.8532
104 | 0.52 | 4.8532 | 1.04 | 3.7634
105 | 0.525 | 5 | 1.05 | 2
106 | 0.53 | 4.8532 | 1.06 | 0.23664
107 | 0.535 | 4.4271 | 1.07 | -0.85317
108 | 0.54 | 3.7634 | 1.08 | -0.85317
109 | 0.545 | 2.9271 | 1.09 | 0.23664
110 | 0.55 | 2 | 1.1 | 2
111 | 0.555 | 1.0729 | 1.11 | 3.7634
112 | 0.56 | 0.23664 | 1.12 | 4.8532
113 | 0.565 | -0.42705 | 1.13 | 4.8532
114 | 0.57 | -0.85317 | 1.14 | 3.7634
115 | 0.575 | -1 | 1.15 | 2
116 | 0.58 | -0.85317 | 1.16 | 0.23664
117 | 0.585 | -0.42705 | 1.17 | -0.85317
118 | 0.59 | 0.23664 | 1.18 | -0.85317
119 | 0.595 | 1.0729 | 1.19 | 0.23664
120 | 0.6 | 2 | 1.2 | 2
121 | 0.605 | 2.9271 | 1.21 | 3.7634
122 | 0.61 | 3.7634 | 1.22 | 4.8532
123 | 0.615 | 4.4271 | 1.23 | 4.8532
124 | 0.62 | 4.8532 | 1.24 | 3.7634
125 | 0.625 | 5 | 1.25 | 2
126 | 0.63 | 4.8532 | 1.26 | 0.23664
127 | 0.635 | 4.4271 | 1.27 | -0.85317
128 | 0.64 | 3.7634 | 1.28 | -0.85317
129 | 0.645 | 2.9271 | 1.29 | 0.23664
130 | 0.65 | 2 | 1.3 | 2
131 | 0.655 | 1.0729 | 1.31 | 3.7634
132 | 0.66 | 0.23664 | 1.32 | 4.8532
133 | 0.665 | -0.42705 | 1.33 | 4.8532
134 | 0.67 | -0.85317 | 1.34 | 3.7634
135 | 0.675 | -1 | 1.35 | 2
136 | 0.68 | -0.85317 | 1.36 | 0.23664
137 | 0.685 | -0.42705 | 1.37 | -0.85317
138 | 0.69 | 0.23664 | 1.38 | -0.85317
139 | 0.695 | 1.0729 | 1.39 | 0.23664
140 | 0.7 | 2 | 1.4 | 2
141 | 0.705 | 2.9271 | 1.41 | 3.7634
142 | 0.71 | 3.7634 | 1.42 | 4.8532
143 | 0.715 | 4.4271 | 1.43 | 4.8532
144 | 0.72 | 4.8532 | 1.44 | 3.7634
145 | 0.725 | 5 | 1.45 | 2
146 | 0.73 | 4.8532 | 1.46 | 0.23664
147 | 0.735 | 4.4271 | 1.47 | -0.85317
148 | 0.74 | 3.7634 | 1.48 | -0.85317
149 | 0.745 | 2.9271 | 1.49 | 0.23664
150 | 0.75 | 2 | 1.5 | 2
151 | 0.755 | 1.0729 | 1.51 | 3.7634
152 | 0.76 | 0.23664 | 1.52 | 4.8532
153 | 0.765 | -0.42705 | 1.53 | 4.8532
154 | 0.77 | -0.85317 | 1.54 | 3.7634
155 | 0.775 | -1 | 1.55 | 2
156 | 0.78 | -0.85317 | 1.56 | 0.23664
157 | 0.785 | -0.42705 | 1.57 | -0.85317
158 | 0.79 | 0.23664 | 1.58 | -0.85317
159 | 0.795 | 1.0729 | 1.59 | 0.23664
160 | 0.8 | 2 | 1.6 | 2
161 | 0.805 | 2.9271 | 1.61 | 3.7634
162 | 0.81 | 3.7634 | 1.62 | 4.8532
163 | 0.815 | 4.4271 | 1.63 | 4.8532
164 | 0.82 | 4.8532 | 1.64 | 3.7634
165 | 0.825 | 5 | 1.65 | 2
166 | 0.83 | 4.8532 | 1.66 | 0.23664
167 | 0.835 | 4.4271 | 1.67 | -0.85317
168 | 0.84 | 3.7634 | 1.68 | -0.85317
169 | 0.845 | 2.9271 | 1.69 | 0.23664
170 | 0.85 | 2 | 1.7 | 2
171 | 0.855 | 1.0729 | 1.71 | 3.7634
172 | 0.86 | 0.23664 | 1.72 | 4.8532
173 | 0.865 | -0.42705 | 1.73 | 4.8532
174 | 0.87 | -0.85317 | 1.74 | 3.7634
175 | 0.875 | -1 | 1.75 | 2
176 | 0.88 | -0.85317 | 1.76 | 0.23664
177 | 0.885 | -0.42705 | 1.77 | -0.85317
178 | 0.89 | 0.23664 | 1.78 | -0.85317
179 | 0.895 | 1.0729 | 1.79 | 0.23664
180 | 0.9 | 2 | 1.8 | 2
181 | 0.905 | 2.9271 | 1.81 | 3.7634
182 | 0.91 | 3.7634 | 1.82 | 4.8532
183 | 0.915 | 4.4271 | 1.83 | 4.8532
184 | 0.92 | 4.8532 | 1.84 | 3.7634
185 | 0.925 | 5 | 1.85 | 2
186 | 0.93 | 4.8532 | 1.86 | 0.23664
187 | 0.935 | 4.4271 | 1.87 | -0.85317
188 | 0.94 | 3.7634 | 1.88 | -0.85317
189 | 0.945 | 2.9271 | 1.89 | 0.23664
190 | 0.95 | 2 | 1.9 | 2
191 | 0.955 | 1.0729 | 1.91 | 3.7634
192 | 0.96 | 0.23664 | 1.92 | 4.8532
193 | 0.965 | -0.42705 | 1.93 | 4.8532
194 | 0.97 | -0.85317 | 1.94 | 3.7634
195 | 0.975 | -1 | 1.95 | 2
196 | 0.98 | -0.85317 | 1.96 | 0.23664
197 | 0.985 | -0.42705 | 1.97 | -0.85317
198 | 0.99 | 0.23664 | 1.98 | -0.85317
199 | 0.995 | 1.0729 | 1.99 | 0.23664
200 | 1 | 2 | 2 | 2
201 | 1.005 | 2.9271 | 2.01 | 3.7634
202 | 1.01 | 3.7634 | 2.02 | 4.8532
203 | 1.015 | 4.4271 | 2.03 | 4.8532
204 | 1.02 | 4.8532 | 2.04 | 3.7634
205 | 1.025 | 5 | 2.05 | 2
206 | 1.03 | 4.8532 | 2.06 | 0.23664
207 | 1.035 | 4.4271 | 2.07 | -0.85317
208 | 1.04 | 3.7634 | 2.08 | -0.85317
209 | 1.045 | 2.9271 | 2.09 | 0.23664
210 | 1.05 | 2 | 2.1 | 2
211 | 1.055 | 1.0729 | 2.11 | 3.7634
212 | 1.06 | 0.23664 | 2.12 | 4.8532
213 | 1.065 | -0.42705 | 2.13 | 4.8532
214 | 1.07 | -0.85317 | 2.14 | 3.7634
215 | 1.075 | -1 | 2.15 | 2
216 | 1.08 | -0.85317 | 2.16 | 0.23664
217 | 1.085 | -0.42705 | 2.17 | -0.85317
218 | 1.09 | 0.23664 | 2.18 | -0.85317
219 | 1.095 | 1.0729 | 2.19 | 0.23664
220 | 1.1 | 2 | 2.2 | 2
221 | 1.105 | 2.9271 | 2.21 | 3.7634
222 | 1.11 | 3.7634 | 2.22 | 4.8532
223 | 1.115 | 4.4271 | 2.23 | 4.8532
224 | 1.12 | 4.8532 | 2.24 | 3.7634
225 | 1.125 | 5 | 2.25 | 2
226 | 1.13 | 4.8532 | 2.26 | 0.23664
227 | 1.135 | 4.4271 | 2.27 | -0.85317
228 | 1.14 | 3.7634 | 2.28 | -0.85317
229 | 1.145 | 2.9271 | 2.29 | 0.23664
230 | 1.15 | 2 | 2.3 | 2
231 | 1.155 | 1.0729 | 2.31 | 3.7634
232 | 1.16 | 0.23664 | 2.32 | 4.8532
233 | 1.165 | -0.42705 | 2.33 | 4.8532
234 | 1.17 | -0.85317 | 2.34 | 3.7634
235 | 1.175 | -1 | 2.35 | 2
236 | 1.18 | -0.85317 | 2.36 | 0.23664
237 | 1.185 | -0.42705 | 2.37 | -0.85317
238 | 1.19 | 0.23664 | 2.38 | -0.85317
239 | 1.195 | 1.0729 | 2.39 | 0.23664
240 | 1.2 | 2 | 2.4 | 2
241 | 1.205 | 2.9271 | 2.41 | 3.7634
242 | 1.21 | 3.7634 | 2.42 | 4.8532
243 | 1.215 | 4.4271 | 2.43 | 4.8532
244 | 1.22 | 4.8532 | 2.44 | 3.7634
245 | 1.225 | 5 | 2.45 | 2
246 | 1.23 | 4.8532 | 2.46 | 0.23664
247 | 1.235 | 4.4271 | 2.47 | -0.85317
248 | 1.24 | 3.7634 | 2.48 | -0.85317
249 | 1.245 | 2.9271 | 2.49 | 0.23664
250 | 1.25 | 2 | 2.5 | 2
251 | 1.255 | 1.0729 | 2.51 | 3.7634
252 | 1.26 | 0.23664 | 2.52 | 4.8532
253 | 1.265 | -0.42705 | 2.53 | 4.8532
254 | 1.27 | -0.85317 | 2.54 | 3.7634
255 | 1.275 | -1 | 2.55 | 2
256 | 1.28 | -0.85317 | 2.56 | 0.23664
257 | 1.285 | -0.42705 | 2.57 | -0.85317
258 | 1.29 | 0.23664 | 2.58 | -0.85317
259 | 1.295 | 1.0729 | 2.59 | 0.23664
260 | 1.3 | 2 | 2.6 | 2
261 | 1.305 | 2.9271 | 2.61 | 3.7634
262 | 1.31 | 3.7634 | 2.62 | 4.8532
263 | 1.315 | 4.4271 | 2.63 | 4.8532
264 | 1.32 | 4.8532 | 2.64 | 3.7634
265 | 1.325 | 5 | 2.65 | 2
266 | 1.33 | 4.8532 | 2.66 | 0.23664
267 | 1.335 | 4.4271 | 2.67 | -0.85317
268 | 1.34 | 3.7634 | 2.68 | -0.85317
269 | 1.345 | 2.9271 | 2.69 | 0.23664
270 | 1.35 | 2 | 2.7 | 2
271 | 1.355 | 1.0729 | 2.71 | 3.7634
272 | 1.36 | 0.23664 | 2.72 | 4.8532
273 | 1.365 | -0.42705 | 2.73 | 4.8532
274 | 1.37 | -0.85317 | 2.74 | 3.7634
275 | 1.375 | -1 | 2.75 | 2
276 | 1.38 | -0.85317 | 2.76 | 0.23664
277 | 1.385 | -0.42705 | 2.77 | -0.85317
278 | 1.39 | 0.23664 | 2.78 | -0.85317
279 | 1.395 | 1.0729 | 2.79 | 0.23664
280 | 1.4 | 2 | 2.8 | 2
281 | 1.405 | 2.9271 | 2.81 | 3.7634
282 | 1.41 | 3.7634 | 2.82 | 4.8532
283 | 1.415 | 4.4271 | 2.83 | 4.8532
284 | 1.42 | 4.8532 | 2.84 | 3.7634
285 | 1.425 | 5 | 2.85 | 2
286 | 1.43 | 4.8532 | 2.86 | 0.23664
287 | 1.435 | 4.4271 | 2.87 | -0.85317
288 | 1.44 | 3.7634 | 2.88 | -0.85317
289 | 1.445 | 2.9271 | 2.89 | 0.23664
290 | 1.45 | 2 | 2.9 | 2
291 | 1.455 | 1.0729 | 2.91 | 3.7634
292 | 1.46 | 0.23664 | 2.92 | 4.8532
293 | 1.465 | -0.42705 | 2.93 | 4.8532
294 | 1.47 | -0.85317 | 2.94 | 3.7634
295 | 1.475 | -1 | 2.95 | 2
296 | 1.48 | -0.85317 | 2.96 | 0.23664
297 | 1.485 | -0.42705 | 2.97 | -0.85317
298 | 1.49 | 0.23664 | 2.98 | -0.85317
299 | 1.495 | 1.0729 | 2.99 | 0.23664
300 | 1.5 | 2 | 3 | 2
301 | 1.505 | 2.9271 | 3.01 | 3.7634
302 | 1.51 | 3.7634 | 3.02 | 4.8532
303 | 1.515 | 4.4271 | 3.03 | 4.8532
304 | 1.52 | 4.8532 | 3.04 | 3.7634
305 | 1.525 | 5 | 3.05 | 2
306 | 1.53 | 4.8532 | 3.06 | 0.23664
307 | 1.535 | 4.4271 | 3.07 | -0.85317
308 | 1.54 | 3.7634 | 3.08 | -0.85317
309 | 1.545 | 2.9271 | 3.09 | 0.23664
310 | 1.55 | 2 | 3.1 | 2
311 | 1.555 | 1.0729 | 3.11 | 3.7634
312 | 1.56 | 0.23664 | 3.12 | 4.8532
313 | 1.565 | -0.42705 | 3.13 | 4.8532
314 | 1.57 | -0.85317 | 3.14 | 3.7634
315 | 1.575 | -1 | 3.15 | 2
316 | 1.58 | -0.85317 | 3.16 | 0.23664
317 | 1.585 | -0.42705 | 3.17 | -0.85317
318 | 1.59 | 0.23664 | 3.18 | -0.85317
319 | 1.595 | 1.0729 | 3.19 | 0.23664
320 | 1.6 | 2 | 3.2 | 2
321 | 1.605 | 2.9271 | 3.21 | 3.7634
322 | 1.61 | 3.7634 | 3.22 | 4.8532
323 | 1.615 | 4.4271 | 3.23 | 4.8532
324 | 1.62 | 4.8532 | 3.24 | 3.7634
325 | 1.625 | 5 | 3.25 | 2
326 | 1.63 | 4.8532 | 3.26 | 0.23664
327 | 1.635 | 4.4271 | 3.27 | -0.85317
328 | 1.64 | 3.7634 | 3.28 | -0.85317
329 | 1.645 | 2.9271 | 3.29 | 0.23664
330 | 1.65 | 2 | 3.3 | 2
331 | 1.655 | 1.0729 | 3.31 | 3.7634
332 | 1.66 | 0.23664 | 3.32 | 4.8532
333 | 1.665 | -0.42705 | 3.33 | 4.8532
334 | 1.67 | -0.85317 | 3.34 | 3.7634
335 | 1.675 | -1 | 3.35 | 2
336 | 1.68 | -0.85317 | 3.36 | 0.23664
337 | 1.685 | -0.42705 | 3.37 | -0.85317
338 | 1.69 | 0.23664 | 3.38 | -0.85317
339 | 1.695 | 1.0729 | 3.39 | 0.23664
340 | 1.7 | 2 | 3.4 | 2
341 | 1.705 | 2.9271 | 3.41 | 3.7634
342 | 1.71 | 3.7634 | 3.42 | 4.8532
343 | 1.715 | 4.4271 | 3.43 | 4.8532
344 | 1.72 | 4.8532 | 3.44 | 3.7634
345 | 1.725 | 5 | 3.45 | 2
346 | 1.73 | 4.8532 | 3.46 | 0.23664
347 | 1.735 | 4.4271 | 3.47 | -0.85317
348 | 1.74 | 3.7634 | 3.48 | -0.85317
349 | 1.745 | 2.9271 | 3.49 | 0.23664
350 | 1.75 | 2 | 3.5 | 2
351 | 1.755 | 1.0729 | 3.51 | 3.7634
352 | 1.76 | 0.23664 | 3.52 | 4.8532
353 | 1.765 | -0.42705 | 3.53 | 4.8532
354 | 1.77 | -0.85317 | 3.54 | 3.7634
355 | 1.775 | -1 | 3.55 | 2
356 | 1.78 | -0.85317 | 3.56 | 0.23664
357 | 1.785 | -0.42705 | 3.57 | -0.85317
358 | 1.79 | 0.23664 | 3.58 | -0.85317
359 | 1.795 | 1.0729 | 3.59 | 0.23664
360 | 1.8 | 2 | 3.6 | 2
361 | 1.805 | 2.9271 | 3.61 | 3.7634
362 | 1.81 | 3.7634 | 3.62 | 4.8532
363 | 1.815 | 4.4271 | 3.63 | 4.8532
364 | 1.82 | 4.8532 | 3.64 | 3.7634
365 | 1.825 | 5 | 3.65 | 2
366 | 1.83 | 4.8532 | 3.66 | 0.23664
367 | 1.835 | 4.4271 | 3.67 | -0.85317
368 | 1.84 | 3.7634 | 3.68 | -0.85317
369 | 1.845 | 2.9271 | 3.69 | 0.23664
370 | 1.85 | 2 | 3.7 | 2
371 | 1.855 | 1.0729 | 3.71 | 3.7634
372 | 1.86 | 0.23664 | 3.72 | 4.8532
373 | 1.865 | -0.42705 | 3.73 | 4.8532
374 | 1.87 | -0.85317 | 3.74 | 3.7634
375 | 1.875 | -1 | 3.75 | 2
376 | 1.88 | -0.85317 | 3.76 | 0.23664
377 | 1.885 | -0.42705 | 3.77 | -0.85317
378 | 1.89 | 0.23664 | 3.78 | -0.85317
379 | 1.895 | 1.0729 | 3.79 | 0.23664
380 | 1.9 | 2 | 3.8 | 2
381 | 1.905 | 2.9271 | 3.81 | 3.7634
382 | 1.91 | 3.7634 | 3.82 | 4.8532
383 | 1.915 | 4.4271 | 3.83 | 4.8532
384 | 1.92 | 4.8532 | 3.84 | 3.7634
385 | 1.925 | 5 | 3.85 | 2
386 | 1.93 | 4.8532 | 3.86 | 0.23664
387 | 1.935 | 4.4271 | 3.87 | -0.85317
388 | 1.94 | 3.7634 | 3.88 | -0.85317
389 | 1.945 | 2.9271 | 3.89 | 0.23664
390 | 1.95 | 2 | 3.9 | 2
391 | 1.955 | 1.0729 | 3.91 | 3.7634
392 | 1.96 | 0.23664 | 3.92 | 4.8532
393 | 1.965 | -0.42705 | 3.93 | 4.8532
394 | 1.97 | -0.85317 | 3.94 | 3.7634
395 | 1.975 | -1 | 3.95 | 2
396 | 1.98 | -0.85317 | 3.96 | 0.23664
397 | 1.985 | -0.42705 | 3.97 | -0.85317
398 | 1.99 | 0.23664 | 3.98 | -0.85317
399 | 1.995 | 1.0729 | 3.99 | 0.23664
400 | 2 | 2 | 4 | 2
401 | 2.005 | 2.9271 | 4.01 | 3.7634
402 | 2.01 | 3.7634 | 4.02 | 4.8532
403 | 2.015 | 4.4271 | 4.03 | 4.8532
404 | 2.02 | 4.8532 | 4.04 | 3.7634
405 | 2.025 | 5 | 4.05 | 2
406 | 2.03 | 4.8532 | 4.06 | 0.23664
407 | 2.035 | 4.4271 | 4.07 | -0.85317
408 | 2.04 | 3.7634 | 4.08 | -0.85317
409 | 2.045 | 2.9271 | 4.09 | 0.23664
410 | 2.05 | 2 | 4.1 | 2
411 | 2.055 | 1.0729 | 4.11 | 3.7634
412 | 2.06 | 0.23664 | 4.12 | 4.8532
413 | 2.065 | -0.42705 | 4.13 | 4.8532
414 | 2.07 | -0.85317 | 4.14 | 3.7634
415 | 2.075 | -1 | 4.15 | 2
416 | 2.08 | -0.85317 | 4.16 | 0.23664
417 | 2.085 | -0.42705 | 4.17 | -0.85317
418 | 2.09 | 0.23664 | 4.18 | -0.85317
419 | 2.095 | 1.0729 | 4.19 | 0.23664
420 | 2.1 | 2 | 4.2 | 2
421 | 2.105 | 2.9271 | 4.21 | 3.7634
422 | 2.11 | 3.7634 | 4.22 | 4.8532
423 | 2.115 | 4.4271 | 4.23 | 4.8532
424 | 2.12 | 4.8532 | 4.24 | 3.7634
425 | 2.125 | 5 | 4.25 | 2
426 | 2.13 | 4.8532 | 4.26 | 0.23664
427 | 2.135 | 4.4271 | 4.27 | -0.85317
428 | 2.14 | 3.7634 | 4.28 | -0.85317
429 | 2.145 | 2.9271 | 4.29 | 0.23664
430 | 2.15 | 2 | 4.3 | 2
431 | 2.155 | 1.0729 | 4.31 | 3.7634
432 | 2.16 | 0.23664 | 4.32 | 4.8532
433 | 2.165 | -0.42705 | 4.33 | 4.8532
434 | 2.17 | -0.85317 | 4.34 | 3.7634
435 | 2.175 | -1 | 4.35 | 2
436 | 2.18 | -0.85317 | 4.36 | 0.23664
437 | 2.185 | -0.42705 | 4.37 | -0.85317
438 | 2.19 | 0.23664 | 4.38 | -0.85317
439 | 2.195 | 1.0729 | 4.39 | 0.23664
440 | 2.2 | 2 | 4.4 | 2
441 | 2.205 | 2.9271 | 4.41 | 3.7634
442 | 2.21 | 3.7634 | 4.42 | 4.8532
443 | 2.215 | 4.4271 | 4.43 | 4.8532
444 | 2.22 | 4.8532 | 4.44 | 3.7634
445 | 2.225 | 5 | 4.45 | 2
446 | 2.23 | 4.8532 | 4.46 | 0.23664
447 | 2.235 | 4.4271 | 4.47 | -0.85317
448 | 2.24 | 3.7634 | 4.48 | -0.85317
449 | 2.245 | 2.9271 | 4.49 | 0.23664
450 | 2.25 | 2 | 4.5 | 2
451 | 2.255 | 1.0729 | 4.51 | 3.7634
452 | 2.26 | 0.23664 | 4.52 | 4.8532
453 | 2.265 | -0.42705 | 4.53 | 4.8532
454 | 2.27 | -0.85317 | 4.54 | 3.7634
455 | 2.275 | -1 | 4.55 | 2
456 | 2.28 | -0.85317 | 4.56 | 0.23664
457 | 2.285 | -0.42705 | 4.57 | -0.85317
458 | 2.29 | 0.23664 | 4.58 | -0.85317
459 | 2.295 | 1.0729 | 4.59 | 0.23664
460 | 2.3 | 2 | 4.6 | 2
461 | 2.305 | 2.9271 | 4.61 | 3.7634
462 | 2.31 | 3.7634 | 4.62 | 4.8532
463 | 2.315 | 4.4271 | 4.63 | 4.8532
464 | 2.32 | 4.8532 | 4.64 | 3.7634
465 | 2.325 | 5 | 4.65 | 2
466 | 2.33 | 4.8532 | 4.66 | 0.23664
467 | 2.335 | 4.4271 | 4.67 | -0.85317
468 | 2.34 | 3.7634 | 4.68 | -0.85317
469 | 2.345 | 2.9271 | 4.69 | 0.23664
470 | 2.35 | 2 | 4.7 | 2
471 | 2.355 | 1.0729 | 4.71 | 3.7634
472 | 2.36 | 0.23664 | 4.72 | 4.8532
473 | 2.365 | -0.42705 | 4.73 | 4.8532
474 | 2.37 | -0.85317 | 4.74 | 3.7634
475 | 2.375 | -1 | 4.75 | 2
476 | 2.38 | -0.85317 | 4.76 | 0.23664
477 | 2.385 | -0.42705 | 4.77 | -0.85317
478 | 2.39 | 0.23664 | 4.78 | -0.85317
479 | 2.395 | 1.0729 | 4.79 | 0.23664
480 | 2.4 | 2 | 4.8 | 2
481 | 2.405 | 2.9271 | 4.81 | 3.7634
482 | 2.41 | 3.7634 | 4.82 | 4.8532
483 | 2.415 | 4.4271 | 4.83 | 4.8532
484 | 2.42 | 4.8532 | 4.84 | 3.7634
485 | 2.425 | 5 | 4.85 | 2
486 | 2.43 | 4.8532 | 4.86 | 0.23664
487 | 2.435 | 4.4271 | 4.87 | -0.85317
488 | 2.44 | 3.7634 | 4.88 | -0.85317
489 | 2.445 | 2.9271 | 4.89 | 0.23664
490 | 2.45 | 2 | 4.9 | 2
491 | 2.455 | 1.0729 | 4.91 | 3.7634
492 | 2.46 | 0.23664 | 4.92 | 4.8532
493 | 2.465 | -0.42705 | 4.93 | 4.8532
494 | 2.47 | -0.85317 | 4.94 | 3.7634
495 | 2.475 | -1 | 4.95 | 2
496 | 2.48 | -0.85317 | 4.96 | 0.23664
497 | 2.485 | -0.42705 | 4.97 | -0.85317
498 | 2.49 | 0.23664 | 4.98 | -0.85317
499 | 2.495 | 1.0729 | 4.99 | 0.23664
500 | 2.5 | 2 | 5 | 2
501 | 2.505 | 2.9271 | 5.01 | 3.7634
502 | 2.51 | 3.7634 | 5.02 | 4.8532
503 | 2.515 | 4.4271 | 5.03 | 4.8532
504 | 2.52 | 4.8532 | 5.04 | 3.7634
505 | 2.525 | 5 | 5.05 | 2
506 | 2.53 | 4.8532 | 5.06 | 0.23664
507 | 2.535 | 4.4271 | 5.07 | -0.85317
508 | 2.54 | 3.7634 | 5.08 | -0.85317
509 | 2.545 | 2.9271 | 5.09 | 0.23664
510 | 2.55 | 2 | 5.1 | 2
511 | 2.555 | 1.0729 | 5.11 | 3.7634
512 | 2.56 | 0.23664 | 5.12 | 4.8532
513 | 2.565 | -0.42705 | 5.13 | 4.8532
514 | 2.57 | -0.85317 | 5.14 | 3.7634
515 | 2.575 | -1 | 5.15 | 2
516 | 2.58 | -0.85317 | 5.16 | 0.23664
517 | 2.585 | -0.42705 | 5.17 | -0.85317
518 | 2.59 | 0.23664 | 5.18 | -0.85317
519 | 2.595 | 1.0729 | 5.19 | 0.23664
520 | 2.6 | 2 | 5.2 | 2
521 | 2.605 | 2.9271 | 5.21 | 3.7634
522 | 2.61 | 3.7634 | 5.22 | 4.8532
523 | 2.615 | 4.4271 | 5.23 | 4.8532
524 | 2.62 | 4.8532 | 5.24 | 3.7634
525 | 2.625 | 5 | 5.25 | 2
526 | 2.63 | 4.8532 | 5.26 | 0.23664
527 | 2.635 | 4.4271 | 5.27 | -0.85317
528 | 2.64 | 3.7634 | 5.28 | -0.85317
529 | 2.645 | 2.9271 | 5.29 | 0.23664
530 | 2.65 | 2 | 5.3 | 2
531 | 2.655 | 1.0729 | 5.31 | 3.7634
532 | 2.66 | 0.23664 | 5.32 | 4.8532
533 | 2.665 | -0.42705 | 5.33 | 4.8532
534 | 2.67 | -0.85317 | 5.34 | 3.7634
535 | 2.675 | -1 | 5.35 | 2
536 | 2.68 | -0.85317 | 5.36 | 0.23664
537 | 2.685 | -0.42705 | 5.37 | -0.85317
538 | 2.69 | 0.23664 | 5.38 | -0.85317
539 | 2.695 | 1.0729 | 5.39 | 0.23664
540 | 2.7 | 2 | 5.4 | 2
541 | 2.705 | 2.9271 | 5.41 | 3.7634
542 | 2.71 | 3.7634 | 5.42 | 4.8532
543 | 2.715 | 4.4271 | 5.43 | 4.8532
544 | 2.72 | 4.8532 | 5.44 | 3.7634
545 | 2.725 | 5 | 5.45 | 2
546 | 2.73 | 4.8532 | 5.46 | 0.23664
547 | 2.735 | 4.4271 | 5.47 | -0.85317
548 | 2.74 | 3.7634 | 5.48 | -0.85317
549 | 2.745 | 2.9271 | 5.49 | 0.23664
550 | 2.75 | 2 | 5.5 | 2
551 | 2.755 | 1.0729 | 5.51 | 3.7634
552 | 2.76 | 0.23664 | 5.52 | 4.8532
553 | 2.765 | -0.42705 | 5.53 | 4.8532
554 | 2.77 | -0.85317 | 5.54 | 3.7634
555 | 2.775 | -1 | 5.55 | 2
556 | 2.78 | -0.85317 | 5.56 | 0.23664
557 | 2.785 | -0.42705 | 5.57 | -0.85317
558 | 2.79 | 0.23664 | 5.58 | -0.85317
559 | 2.795 | 1.0729 | 5.59 | 0.23664
560 | 2.8 | 2 | 5.6 | 2
561 | 2.805 | 2.9271 | 5.61 | 3.7634
562 | 2.81 | 3.7634 | 5.62 | 4.8532
563 | 2.815 | 4.4271 | 5.63 | 4.8532
564 | 2.82 | 4.8532 | 5.64 | 3.7634
565 | 2.825 | 5 | 5.65 | 2
566 | 2.83 | 4.8532 | 5.66 | 0.23664
567 | 2.835 | 4.4271 | 5.67 | -0.85317
568 | 2.84 | 3.7634 | 5.68 | -0.85317
569 | 2.845 | 2.9271 | 5.69 | 0.23664
570 | 2.85 | 2 | 5.7 | 2
571 | 2.855 | 1.0729 | 5.71 | 3.7634
572 | 2.86 | 0.23664 | 5.72 | 4.8532
573 | 2.865 | -0.42705 | 5.73 | 4.8532
574 | 2.87 | -0.85317 | 5.74 | 3.7634
575 | 2.875 | -1 | 5.75 | 2
576 | 2.88 | -0.85317 | 5.76 | 0.23664
577 | 2.885 | -0.42705 | 5.77 | -0.85317
578 | 2.89 | 0.23664 | 5.78 | -0.85317
579 | 2.895 | 1.0729 | 5.79 | 0.23664
580 | 2.9 | 2 | 5.8 | 2
581 | 2.905 | 2.9271 | 5.81 | 3.7634
582 | 2.91 | 3.7634 | 5.82 | 4.8532
583 | 2.915 | 4.4271 | 5.83 | 4.8532
584 | 2.92 | 4.8532 | 5.84 | 3.7634
585 | 2.925 | 5 | 5.85 | 2
586 | 2.93 | 4.8532 | 5.86 | 0.23664
587 | 2.935 | 4.4271 | 5.87 | -0.85317
588 | 2.94 | 3.7634 | 5.88 | -0.85317
589 | 2.945 | 2.9271 | 5.89 | 0.23664
590 | 2.95 | 2 | 5.9 | 2
591 | 2.955 | 1.0729 | 5.91 | 3.7634
592 | 2.96 | 0.23664 | 5.92 | 4.8532
593 | 2.965 | -0.42705 | 5.93 | 4.8532
594 | 2.97 | -0.85317 | 5.94 | 3.7634
595 | 2.975 | -1 | 5.95 | 2
596 | 2.98 | -0.85317 | 5.96 | 0.23664
597 | 2.985 | -0.42705 | 5.97 | -0.85317
598 | 2.99 | 0.23664 | 5.98 | -0.85317
599 | 2.995 | 1.0729 | 5.99 | 0.23664
600 | 3 | 2 | 6 | 2
601 | 3.005 | 2.9271 | 6.01 | 3.7634
602 | 3.01 | 3.7634 | 6.02 | 4.8532
603 | 3.015 | 4.4271 | 6.03 | 4.8532
604 | 3.02 | 4.8532 | 6.04 | 3.7634
605 | 3.025 | 5 | 6.05 | 2
606 | 3.03 | 4.8532 | 6.06 | 0.23664
607 | 3.035 | 4.4271 | 6.07 | -0.85317
608 | 3.04 | 3.7634 | 6.08 | -0.85317
609 | 3.045 | 2.9271 | 6.09 | 0.23664
610 | 3.05 | 2 | 6.1 | 2
611 | 3.055 | 1.0729 | 6.11 | 3.7634
612 | 3.06 | 0.23664 | 6.12 | 4.8532
613 | 3.065 | -0.42705 | 6.13 | 4.8532
614 | 3.07 | -0.85317 | 6.14 | 3.7634
615 | 3.075 | -1 | 6.15 | 2
616 | 3.08 | -0.85317 | 6.16 | 0.23664
617 | 3.085 | -0.42705 | 6.17 | -0.85317
618 | 3.09 | 0.23664 | 6.18 | -0.85317
619 | 3.095 | 1.0729 | 6.19 | 0.23664
620 | 3.1 | 2 | 6.2 | 2
621 | 3.105 | 2.9271 | 6.21 | 3.7634
622 | 3.11 | 3.7634 | 6.22 | 4.8532
623 | 3.115 | 4.4271 | 6.23 | 4.8532
624 | 3.12 | 4.8532 | 6.24 | 3.7634
625 | 3.125 | 5 | 6.25 | 2
626 | 3.13 | 4.8532 | 6.26 | 0.23664
627 | 3.135 | 4.4271 | 6.27 | -0.85317
628 | 3.14 | 3.7634 | 6.28 | -0.85317
629 | 3.145 | 2.9271 | 6.29 | 0.23664
630 | 3.15 | 2 | 6.3 | 2
631 | 3.155 | 1.0729 | 6.31 | 3.7634
632 | 3.16 | 0.23664 | 6.32 | 4.8532
633 | 3.165 | -0.42705 | 6.33 | 4.8532
634 | 3.17 | -0.85317 | 6.34 | 3.7634
635 | 3.175 | -1 | 6.35 | 2
636 | 3.18 | -0.85317 | 6.36 | 0.23664
637 | 3.185 | -0.42705 | 6.37 | -0.85317
638 | 3.19 | 0.23664 | 6.38 | -0.85317
639 | 3.195 | 1.0729 | 6.39 | 0.23664
640 | 3.2 | 2 | 6.4 | 2
641 | 3.205 | 2.9271 | 6.41 | 3.7634
642 | 3.21 | 3.7634 | 6.42 | 4.8532
643 | 3.215 | 4.4271 | 6.43 | 4.8532
644 | 3.22 | 4.8532 | 6.44 | 3.7634
645 | 3.225 | 5 | 6.45 | 2
646 | 3.23 | 4.8532 | 6.46 | 0.23664
647 | 3.235 | 4.4271 | 6.47 | -0.85317
648 | 3.24 | 3.7634 | 6.48 | -0.85317
649 | 3.245 | 2.9271 | 6.49 | 0.23664
650 | 3.25 | 2 | 6.5 | 2
651 | 3.255 | 1.0729 | 6.51 | 3.7634
652 | 3.26 | 0.23664 | 6.52 | 4.8532
653 | 3.265 | -0.42705 | 6.53 | 4.8532
654 | 3.27 | -0.85317 | 6.54 | 3.7634
655 | 3.275 | -1 | 6.55 | 2
656 | 3.28 | -0.85317 | 6.56 | 0.23664
657 | 3.285 | -0.42705 | 6.57 | -0.85317
658 | 3.29 | 0.23664 | 6.58 | -0.85317
659 | 3.295 | 1.0729 | 6.59 | 0.23664
660 | 3.3 | 2 | 6.6 | 2
661 | 3.305 | 2.9271 | 6.61 | 3.7634
662 | 3.31 | 3.7634 | 6.62 | 4.8532
663 | 3.315 | 4.4271 | 6.63 | 4.8532
664 | 3.32 | 4.8532 | 6.64 | 3.7634
665 | 3.325 | 5 | 6.65 | 2
666 | 3.33 | 4.8532 | 6.66 | 0.23664
667 | 3.335 | 4.4271 | 6.67 | -0.85317
668 | 3.34 | 3.7634 | 6.68 | -0.85317
669 | 3.345 | 2.9271 | 6.69 | 0.23664
670 | 3.35 | 2 | 6.7 | 2
671 | 3.355 | 1.0729 | 6.71 | 3.7634
672 | 3.36 | 0.23664 | 6.72 | 4.8532
673 | 3.365 | -0.42705 | 6.73 | 4.8532
674 | 3.37 | -0.85317 | 6.74 | 3.7634
675 | 3.375 | -1 | 6.75 | 2
676 | 3.38 | -0.85317 | 6.76 | 0.23664
677 | 3.385 | -0.42705 | 6.77 | -0.85317
678 | 3.39 | 0.23664 | 6.78 | -0.85317
679 | 3.395 | 1.0729 | 6.79 | 0.23664
680 | 3.4 | 2 | 6.8 | 2
681 | 3.405 | 2.9271 | 6.81 | 3.7634
682 | 3.41 | 3.7634 | 6.82 | 4.8532
683 | 3.415 | 4.4271 | 6.83 | 4.8532
684 | 3.42 | 4.8532 | 6.84 | 3.7634
685 | 3.425 | 5 | 6.85 | 2
686 | 3.43 | 4.8532 | 6.86 | 0.23664
687 | 3.435 | 4.4271 | 6.87 | -0.85317
688 | 3.44 | 3.7634 | 6.88 | -0.85317
689 | 3.445 | 2.9271 | 6.89 | 0.23664
690 | 3.45 | 2 | 6.9 | 2
691 | 3.455 | 1.0729 | 6.91 | 3.7634
692 | 3.46 | 0.23664 | 6.92 | 4.8532
693 | 3.465 | -0.42705 | 6.93 | 4.8532
694 | 3.47 | -0.85317 | 6.94 | 3.7634
695 | 3.475 | -1 | 6.95 | 2
696 | 3.48 | -0.85317 | 6.96 | 0.23664
697 | 3.485 | -0.42705 | 6.97 | -0.85317
698 | 3.49 | 0.23664 | 6.98 | -0.85317
699 | 3.495 | 1.0729 | 6.99 | 0.23664
700 | 3.5 | 2 | 7 | 2
701 | 3.505 | 2.9271 | 7.01 | 3.7634
702 | 3.51 | 3.7634 | 7.02 | 4.8532
703 | 3.515 | 4.4271 | 7.03 | 4.8532
704 | 3.52 | 4.8532 | 7.04 | 3.7634
705 | 3.525 | 5 | 7.05 | 2
706 | 3.53 | 4.8532 | 7.06 | 0.23664
707 | 3.535 | 4.4271 | 7.07 | -0.85317
708 | 3.54 | 3.7634 | 7.08 | -0.85317
709 | 3.545 | 2.9271 | 7.09 | 0.23664
710 | 3.55 | 2 | 7.1 | 2
711 | 3.555 | 1.0729 | 7.11 | 3.7634
712 | 3.56 | 0.23664 | 7.12 | 4.8532
713 | 3.565 | -0.42705 | 7.13 | 4.8532
714 | 3.57 | -0.85317 | 7.14 | 3.7634
715 | 3.575 | -1 | 7.15 | 2
716 | 3.58 | -0.85317 | 7.16 | 0.23664
717 | 3.585 | -0.42705 | 7.17 | -0.85317
718 | 3.59 | 0.23664 | 7.18 | -0.85317
719 | 3.595 | 1.0729 | 7.19 | 0.23664
720 | 3.6 | 2 | 7.2 | 2
721 | 3.605 | 2.9271 | 7.21 | 3.7634
722 | 3.61 | 3.7634 | 7.22 | 4.8532
723 | 3.615 | 4.4271 | 7.23 | 4.8532
724 | 3.62 | 4.8532 | 7.24 | 3.7634
725 | 3.625 | 5 | 7.25 | 2
726 | 3.63 | 4.8532 | 7.26 | 0.23664
727 | 3.635 | 4.4271 | 7.27 | -0.85317
728 | 3.64 | 3.7634 | 7.28 | -0.85317
729 | 3.645 | 2.9271 | 7.29 | 0.23664
730 | 3.65 | 2 | 7.3 | 2
731 | 3.655 | 1.0729 | 7.31 | 3.7634
732 | 3.66 | 0.23664 | 7.32 | 4.8532
733 | 3.665 | -0.42705 | 7.33 | 4.8532
734 | 3.67 | -0.85317 | 7.34 | 3.7634
735 | 3.675 | -1 | 7.35 | 2
736 | 3.68 | -0.85317 | 7.36 | 0.23664
737 | 3.685 | -0.42705 | 7.37 | -0.85317
738 | 3.69 | 0.23664 | 7.38 | -0.85317
739 | 3.695 | 1.0729 | 7.39 | 0.23664
740 | 3.7 | 2 | 7.4 | 2
741 | 3.705 | 2.9271 | 7.41 | 3.7634
742 | 3.71 | 3.7634 | 7.42 | 4.8532
743 | 3.715 | 4.4271 | 7.43 | 4.8532
744 | 3.72 | 4.8532 | 7.44 | 3.7634
745 | 3.725 | 5 | 7.45 | 2
746 | 3.73 | 4.8532 | 7.46 | 0.23664
747 | 3.735 | 4.4271 | 7.47 | -0.85317
748 | 3.74 | 3.7634 | 7.48 | -0.85317
749 | 3.745 | 2.9271 | 7.49 | 0.23664
750 | 3.75 | 2 | 7.5 | 2
751 | 3.755 | 1.0729 | 7.51 | 3.7634
752 | 3.76 | 0.23664 | 7.52 | 4.8532
753 | 3.765 | -0.42705 | 7.53 | 4.8532
754 | 3.77 | -0.85317 | 7.54 | 3.7634
755 | 3.775 | -1 | 7.55 | 2
756 | 3.78 | -0.85317 | 7.56 | 0.23664
757 | 3.785 | -0.42705 | 7.57 | -0.85317
758 | 3.79 | 0.23664 | 7.58 | -0.85317
759 | 3.795 | 1.0729 | 7.59 | 0.23664
760 | 3.8 | 2 | 7.6 | 2
761 | 3.805 | 2.9271 | 7.61 | 3.7634
762 | 3.81 | 3.7634 | 7.62 | 4.8532
763 | 3.815 | 4.4271 | 7.63 | 4.8532
764 | 3.82 | 4.8532 | 7.64 | 3.7634
765 | 3.825 | 5 | 7.65 | 2
766 | 3.83 | 4.8532 | 7.66 | 0.23664
767 | 3.835 | 4.4271 | 7.67 | -0.85317
768 | 3.84 | 3.7634 | 7.68 | -0.85317
769 | 3.845 | 2.9271 | 7.69 | 0.23664
770 | 3.85 | 2 | 7.7 | 2
771 | 3.855 | 1.0729 | 7.71 | 3.7634
772 | 3.86 | 0.23664 | 7.72 | 4.8532
773 | 3.865 | -0.42705 | 7.73 | 4.8532
774 | 3.87 | -0.85317 | 7.74 | 3.7634
775 | 3.875 | -1 | 7.75 | 2
776 | 3.88 | -0.85317 | 7.76 | 0.23664
777 | 3.885 | -0.42705 | 7.77 | -0.85317
778 | 3.89 | 0.23664 | 7.78 | -0.85317
779 | 3.895 | 1.0729 | 7.79 | 0.23664
780 | 3.9 | 2 | 7.8 | 2
781 | 3.905 | 2.9271 | 7.81 | 3.7634
782 | 3.91 | 3.7634 | 7.82 | 4.8532
783 | 3.915 | 4.4271 | 7.83 | 4.8532
784 | 3.92 | 4.8532 | 7.84 | 3.7634
785 | 3.925 | 5 | 7.85 | 2
786 | 3.93 | 4.8532 | 7.86 | 0.23664
787 | 3.935 | 4.4271 | 7.87 | -0.85317
788 | 3.94 | 3.7634 | 7.88 | -0.85317
789 | 3.945 | 2.9271 | 7.89 | 0.23664
790 | 3.95 | 2 | 7.9 | 2
791 | 3.955 | 1.0729 | 7.91 | 3.7634
792 | 3.96 | 0.23664 | 7.92 | 4.8532
793 | 3.965 | -0.42705 | 7.93 | 4.8532
794 | 3.97 | -0.85317 | 7.94 | 3.7634
795 | 3.975 | -1 | 7.95 | 2
796 | 3.98 | -0.85317 | 7.96 | 0.23664
797 | 3.985 | -0.42705 | 7.97 | -0.85317
798 | 3.99 | 0.23664 | 7.98 | -0.85317
799 | 3.995 | 1.0729 | 7.99 | 0.23664
800 | 4 | 2 | 8 | 2
801 | 4.005 | 2.9271 | 8.01 | 3.7634
802 | 4.01 | 3.7634 | 8.02 | 4.8532
803 | 4.015 | 4.4271 | 8.03 | 4.8532
804 | 4.02 | 4.8532 | 8.04 | 3.7634
805 | 4.025 | 5 | 8.05 | 2
806 | 4.03 | 4.8532 | 8.06 | 0.23664
807 | 4.035 | 4.4271 | 8.07 | -0.85317
808 | 4.04 | 3.7634 | 8.08 | -0.85317
809 | 4.045 | 2.9271 | 8.09 | 0.23664
810 | 4.05 | 2 | 8.1 | 2
811 | 4.055 | 1.0729 | 8.11 | 3.7634
812 | 4.06 | 0.23664 | 8.12 | 4.8532
813 | 4.065 | -0.42705 | 8.13 | 4.8532
814 | 4.07 | -0.85317 | 8.14 | 3.7634
815 | 4.075 | -1 | 8.15 | 2
816 | 4.08 | -0.85317 | 8.16 | 0.23664
817 | 4.085 | -0.42705 | 8.17 | -0.85317
818 | 4.09 | 0.23664 | 8.18 | -0.85317
819 | 4.095 | 1.0729 | 8.19 | 0.23664
820 | 4.1 | 2 | 8.2 | 2
821 | 4.105 | 2.9271 | 8.21 | 3.7634
822 | 4.11 | 3.7634 | 8.22 | 4.8532
823 | 4.115 | 4.4271 | 8.23 | 4.8532
824 | 4.12 | 4.8532 | 8.24 | 3.7634
825 | 4.125 | 5 | 8.25 | 2
826 | 4.13 | 4.8532 | 8.26 | 0.23664
827 | 4.135 | 4.4271 | 8.27 | -0.85317
828 | 4.14 | 3.7634 | 8.28 | -0.85317
829 | 4.145 | 2.9271 | 8.29 | 0.23664
830 | 4.15 | 2 | 8.3 | 2
831 | 4.155 | 1.0729 | 8.31 | 3.7634
832 | 4.16 | 0.23664 | 8.32 | 4.8532
833 | 4.165 | -0.42705 | 8.33 | 4.8532
834 | 4.17 | -0.85317 | 8.34 | 3.7634
835 | 4.175 | -1 | 8.35 | 2
836 | 4.18 | -0.85317 | 8.36 | 0.23664
837 | 4.185 | -0.42705 | 8.37 | -0.85317
838 | 4.19 | 0.23664 | 8.38 | -0.85317
839 | 4.195 | 1.0729 | 8.39 | 0.23664
840 | 4.2 | 2 | 8.4 | 2
841 | 4.205 | 2.9271 | 8.41 | 3.7634
842 | 4.21 | 3.7634 | 8.42 | 4.8532
843 | 4.215 | 4.4271 | 8.43 | 4.8532
844 | 4.22 | 4.8532 | 8.44 | 3.7634
845 | 4.225 | 5 | 8.45 | 2
846 | 4.23 | 4.8532 | 8.46 | 0.23664
847 | 4.235 | 4.4271 | 8.47 | -0.85317
848 | 4.24 | 3.7634 | 8.48 | -0.85317
849 | 4.245 | 2.9271 | 8.49 | 0.23664
850 | 4.25 | 2 | 8.5 | 2
851 | 4.255 | 1.0729 | 8.51 | 3.7634
852 | 4.26 | 0.23664 | 8.52 | 4.8532
853 | 4.265 | -0.42705 | 8.53 | 4.8532
854 | 4.27 | -0.85317 | 8.54 | 3.7634
855 | 4.275 | -1 | 8.55 | 2
856 | 4.28 | -0.85317 | 8.56 | 0.23664
857 | 4.285 | -0.42705 | 8.57 | -0.85317
858 | 4.29 | 0.23664 | 8.58 | -0.85317
859 | 4.295 | 1.0729 | 8.59 | 0.23664
860 | 4.3 | 2 | 8.6 | 2
861 | 4.305 | 2.9271 | 8.61 | 3.7634
862 | 4.31 | 3.7634 | 8.62 | 4.8532
863 | 4.315 | 4.4271 | 8.63 | 4.8532
864 | 4.32 | 4.8532 | 8.64 | 3.7634
865 | 4.325 | 5 | 8.65 | 2
866 | 4.33 | 4.8532 | 8.66 | 0.23664
867 | 4.335 | 4.4271 | 8.67 | -0.85317
868 | 4.34 | 3.7634 | 8.68 | -0.85317
869 | 4.345 | 2.9271 | 8.69 | 0.23664
870 | 4.35 | 2 | 8.7 | 2
871 | 4.355 | 1.0729 | 8.71 | 3.7634
872 | 4.36 | 0.23664 | 8.72 | 4.8532
873 | 4.365 | -0.42705 | 8.73 | 4.8532
874 | 4.37 | -0.85317 | 8.74 | 3.7634
875 | 4.375 | -1 | 8.75 | 2
876 | 4.38 | -0.85317 | 8.76 | 0.23664
877 | 4.385 | -0.42705 | 8.77 | -0.85317
878 | 4.39 | 0.23664 | 8.78 | -0.85317
879 | 4.395 | 1.0729 | 8.79 | 0.23664
880 | 4.4 | 2 | 8.8 | 2
881 | 4.405 | 2.9271 | 8.81 | 3.7634
882 | 4.41 | 3.7634 | 8.82 | 4.8532
883 | 4.415 | 4.4271 | 8.83 | 4.8532
884 | 4.42 | 4.8532 | 8.84 | 3.7634
885 | 4.425 | 5 | 8.85 | 2
886 | 4.43 | 4.8532 | 8.86 | 0.23664
887 | 4.435 | 4.4271 | 8.87 | -0.85317
888 | 4.44 | 3.7634 | 8.88 | -0.85317
889 | 4.445 | 2.9271 | 8.89 | 0.23664
890 | 4.45 | 2 | 8.9 | 2
891 | 4.455 | 1.0729 | 8.91 | 3.7634
892 | 4.46 | 0.23664 | 8.92 | 4.8532
893 | 4.465 | -0.42705 | 8.93 | 4.8532
894 | 4.47 | -0.85317 | 8.94 | 3.7634
895 | 4.475 | -1 | 8.95 | 2
896 | 4.48 | -0.85317 | 8.96 | 0.23664
897 | 4.485 | -0.42705 | 8.97 | -0.85317
898 | 4.49 | 0.23664 | 8.98 | -0.85317
899 | 4.495 | 1.0729 | 8.99 | 0.23664
900 | 4.5 | 2 | 9 | 2
901 | 4.505 | 2.9271 | 9.01 | 3.7634
902 | 4.51 | 3.7634 | 9.02 | 4.8532
903 | 4.515 | 4.4271 | 9.03 | 4.8532
904 | 4.52 | 4.8532 | 9.04 | 3.7634
905 | 4.525 | 5 | 9.05 | 2
906 | 4.53 | 4.8532 | 9.06 | 0.23664
907 | 4.535 | 4.4271 | 9.07 | -0.85317
908 | 4.54 | 3.7634 | 9.08 | -0.85317
909 | 4.545 | 2.9271 | 9.09 | 0.23664
910 | 4.55 | 2 | 9.1 | 2
911 | 4.555 | 1.0729 | 9.11 | 3.7634
912 | 4.56 | 0.23664 | 9.12 | 4.8532
913 | 4.565 | -0.42705 | 9.13 | 4.8532
914 | 4.57 | -0.85317 | 9.14 | 3.7634
915 | 4.575 | -1 | 9.15 | 2
916 | 4.58 | -0.85317 | 9.16 | 0.23664
917 | 4.585 | -0.42705 | 9.17 | -0.85317
918 | 4.59 | 0.23664 | 9.18 | -0.85317
919 | 4.595 | 1.0729 | 9.19 | 0.23664
920 | 4.6 | 2 | 9.2 | 2
921 | 4.605 | 2.9271 | 9.21 | 3.7634
922 | 4.61 | 3.7634 | 9.22 | 4.8532
923 | 4.615 | 4.4271 | 9.23 | 4.8532
924 | 4.62 | 4.8532 | 9.24 | 3.7634
925 | 4.625 | 5 | 9.25 | 2
926 | 4.63 | 4.8532 | 9.26 | 0.23664
927 | 4.635 | 4.4271 | 9.27 | -0.85317
928 | 4.64 | 3.7634 | 9.28 | -0.85317
929 | 4.645 | 2.9271 | 9.29 | 0.23664
930 | 4.65 | 2 | 9.3 | 2
931 | 4.655 | 1.0729 | 9.31 | 3.7634
932 | 4.66 | 0.23664 | 9.32 | 4.8532
933 | 4.665 | -0.42705 | 9.33 | 4.8532
934 | 4.67 | -0.85317 | 9.34 | 3.7634
935 | 4.675 | -1 | 9.35 | 2
936 | 4.68 | -0.85317 | 9.36 | 0.23664
937 | 4.685 | -0.42705 | 9.37 | -0.85317
938 | 4.69 | 0.23664 | 9.38 | -0.85317
939 | 4.695 | 1.0729 | 9.39 | 0.23664
940 | 4.7 | 2 | 9.4 | 2
941 | 4.705 | 2.9271 | 9.41 | 3.7634
942 | 4.71 | 3.7634 | 9.42 | 4.8532
943 | 4.715 | 4.4271 | 9.43 | 4.8532
944 | 4.72 | 4.8532 | 9.44 | 3.7634
945 | 4.725 | 5 | 9.45 | 2
946 | 4.73 | 4.8532 | 9.46 | 0.23664
947 | 4.735 | 4.4271 | 9.47 | -0.85317
948 | 4.74 | 3.7634 | 9.48 | -0.85317
949 | 4.745 | 2.9271 | 9.49 | 0.23664
950 | 4.75 | 2 | 9.5 | 2
951 | 4.755 | 1.0729 | 9.51 | 3.7634
952 | 4.76 | 0.23664 | 9.52 | 4.8532
953 | 4.765 | -0.42705 | 9.53 | 4.8532
954 | 4.77 | -0.85317 | 9.54 | 3.7634
955 | 4.775 | -1 | 9.55 | 2
956 | 4.78 | -0.85317 | 9.56 | 0.23664
957 | 4.785 | -0.42705 | 9.57 | -0.85317
958 | 4.79 | 0.23664 | 9.58 | -0.85317
959 | 4.795 | 1.0729 | 9.59 | 0.23664
960 | 4.8 | 2 | 9.6 | 2
961 | 4.805 | 2.9271 | 9.61 | 3.7634
962 | 4.81 | 3.7634 | 9.62 | 4.8532
963 | 4.815 | 4.4271 | 9.63 | 4.8532
964 | 4.82 | 4.8532 | 9.64 | 3.7634
965 | 4.825 | 5 | 9.65 | 2
966 | 4.83 | 4.8532 | 9.66 | 0.23664
967 | 4.835 | 4.4271 | 9.67 | -0.85317
968 | 4.84 | 3.7634 | 9.68 | -0.85317
969 | 4.845 | 2.9271 | 9.69 | 0.23664
970 | 4.85 | 2 | 9.7 | 2
971 | 4.855 | 1.0729 | 9.71 | 3.7634
972 | 4.86 | 0.23664 | 9.72 | 4.8532
973 | 4.865 | -0.42705 | 9.73 | 4.8532
974 | 4.87 | -0.85317 | 9.74 | 3.7634
975 | 4.875 | -1 | 9.75 | 2
976 | 4.88 | -0.85317 | 9.76 | 0.23664
977 | 4.885 | -0.42705 | 9.77 | -0.85317
978 | 4.89 | 0.23664 | 9.78 | -0.85317
979 | 4.895 | 1.0729 | 9.79 | 0.23664
980 | 4.9 | 2 | 9.8 | 2
981 | 4.905 | 2.9271 | 9.81 | 3.7634
982 | 4.91 | 3.7634 | 9.82 | 4.8532
983 | 4.915 | 4.4271 | 9.83 | 4.8532
984 | 4.92 | 4.8532 | 9.84 | 3.7634
985 | 4.925 | 5 | 9.85 | 2
986 | 4.93 | 4.8532 | 9.86 | 0.23664
987 | 4.935 | 4.4271 | 9.87 | -0.85317
988 | 4.94 | 3.7634 | 9.88 | -0.85317
989 | 4.945 | 2.9271 | 9.89 | 0.23664
990 | 4.95 | 2 | 9.9 | 2
991 | 4.955 | 1.0729 | 9.91 | 3.7634
992 | 4.96 | 0.23664 | 9.92 | 4.8532
993 | 4.965 | -0.42705 | 9.93 | 4.8532
994 | 4.97 | -0.85317 | 9.94 | 3.7634
995 | 4.975 | -1 | 9.95 | 2
996 | 4.98 | -0.85317 | 9.96 | 0.23664
997 | 4.985 | -0.42705 | 9.97 | -0.85317
998 | 4.99 | 0.23664 | 9.98 | -0.85317
999 | 4.995 | 1.0729 | 9.99 | 0.23664
1000 | 5 | 2 | 10 | 2
1001 | 5.005 | 2.9271 | 10.01 | 3.7634
1002 | 5.01 | 3.7634 | 10.02 | 4.8532
1003 | 5.015 | 4.4271 | 10.03 | 4.8532
1004 | 5.02 | 4.8532 | 10.04 | 3.7634
1005 | 5.025 | 5 | 10.05 | 2
1006 | 5.03 | 4.8532 | 10.06 | 0.23664
1007 | 5.035 | 4.4271 | 10.07 | -0.85317
1008 | 5.04 | 3.7634 | 10.08 | -0.85317
1009 | 5.045 | 2.9271 | 10.09 | 0.23664
1010 | 5.05 | 2 | 10.1 | 2
1011 | 5.055 | 1.0729 | 10.11 | 3.7634
1012 | 5.06 | 0.23664 | 10.12 | 4.8532
1013 | 5.065 | -0.42705 | 10.13 | 4.8532
1014 | 5.07 | -0.85317 | 10.14 | 3.7634
1015 | 5.075 | -1 | 10.15 | 2
1016 | 5.08 | -0.85317 | 10.16 | 0.23664
1017 | 5.085 | -0.42705 | 10.17 | -0.85317
1018 | 5.09 | 0.23664 | 10.18 | -0.85317
1019 | 5.095 | 1.0729 | 10.19 | 0.23664
1020 | 5.1 | 2 | 10.2 | 2
1021 | 5.105 | 2.9271 | 10.21 | 3.7634
1022 | 5.11 | 3.7634 | 10.22 | 4.8532
1023 | 5.115 | 4.4271 | 10.23 | 4.8532
1024 | 5.12 | 4.8532 | 10.24 | 3.7634